User Manual

Midi Security Kit PRO FullHD 1080P TX-51

Table of Contents

1	FEATURES AND SPECIFICATIONS	1

1.1	Overview	1

1.2	Features	1

1.3	Specifications	2

1.3.1	Midi Security Kit PRO FullHD1080P TX-51	2

2	Overview and Controls	8

2.1	Front Panel	8

2.1.1	Midi Security Kit PRO FullHD1080P TX-51	8

2.2	Rear Panel	10

2.2.1	Midi Security Kit PRO FullHD1080P TX-51	10

2.3	Connection Sample	12

2.3.1	Midi Security Kit PRO FullHD1080P TX-51	12

2.4	Remote Control	14

2.5	Mouse Control	15

3	Installation and Connections	17

3.1	Check Unpacked DVR	17

3.2	About Front Panel and Rear Panel	17

3.3	HDD Installation	17

3.3.1	Midi Security Kit PRO FullHD1080P TX-51	17

3.4	Connecting Power Supply	19

3.5	Connecting Video Input and Output Devices	19

3.5.1	Connecting Video Input	19

3.5.2	Connecting Video Output	20

3.6	Connecting Audio Input & Output, Bidirectional Audio	20

3.6.1	Audio Input	20

3.6.2	Audio Output	20

3.7	Alarm Input and Output Connection	20

3.7.1	Alarm Output Port	21

3.8	Other Interfaces	22

4	Overview of Navigation and Controls	23

4.1	Boot up and Shutdown	23

4.1.1	Boot up	23

4.1.2	Shutdown	23

4.1.3	Auto Resume after Power Failure	23

4.1.4	Replace Button Battery	23

4.2	Startup Wizard	23

4.3	Manual Record	26

4.3.1	Live Viewing	26

4.4	Right-Click Menu	29

4.4.1	Window Switch	29

4.4.2	PTZ Control	29

4.4.3	Color	34

4.4.4	Search	35

4.4.5	Manual Record	35

4.5	Navigation Bar	35

4.5.1	Main Menu	35

4.5.2	Output Screen	35

4.5.3	Favorites	35

4.5.4	Tour	36

4.5.5	PTZ	36

4.5.6	Color	36

4.5.7	Search	36

4.5.8	Alarm Status	36

4.5.9	Channel Info	36

4.5.10	Remote Device	37

4.5.11	Network	37

4.5.12	HDD Manager	37

4.5.13	USB Manager	37

4.6	USB Device Auto Pop-up	37

4.7	Main Menu	37

4.8	Operation	38

4.8.1	Search	38

4.8.2	Backup	44

4.8.3	Shut Down	46

4.9	Information	46

4.9.1	System Info	46

4.9.2	Event	49

4.9.3	Network	49

4.9.4	Log	51

4.10	Setting	52

4.10.1	Camera	52

4.10.2	Network	61

4.10.3	Event	75

4.10.4	Storage	87

4.10.5	System	98

5	WEB OPERATION	110

5.1	Network Connection	110

5.2	Login	110

5.3	LAN Mode	111

5.4	Live	113

5.5	PTZ	113

5.6	Image	114

5.6.1	Image	114

5.7	WAN Login	115

5.8	Setup	116

5.8.1	Camera	116

5.8.2	Network	123

5.8.3	Event	137

5.8.4	Storage	143

5.8.5	Setting	146

5.8.6	Version	156

5.8.7	Log	156

5.8.8	Online User	157

5.9	Playback	157

5.9.1	Search Record	158

5.9.2	File List	158

5.9.3	Playback	158

5.9.4	Download	159

5.9.5	Load more	160

5.10	Alarm	161

5.11	Log out	162

5.12	Un-install Web Control	163

6	Professional Surveillance System	164

7	FAQ	165

Important Safeguards and Warnings

1．Electrical safety

All installation and operation here should conform to your local electrical safety codes. The product must be grounded to reduce the risk of electric shock. We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation.

2．Transportation security

Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3．Installation

Keep upwards. Handle with care.

Do not apply power to the DVR before completing installation.

Do not place objects on the DVR

4．Qualified engineers needed

All the examination and repair work should be done by the qualified service engineers.  We are not liable for any problems caused by unauthorized modifications or attempted repair.

5．Environment

The DVR should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc. This series product shall be transported, storage and used in the specified environments.

6.  Accessories

Be sure to use all the accessories recommended by manufacturer. Before installation, open the package and check all the components are included. Contact your local retailer ASAP if something is broken in your package.

7. Lithium battery

Improper battery use may result in fire, explosion, or personal injury! When replace the battery, make sure you are using the same model!

# This device complies with the requirements of the standards referred to the Directive R&TTE 1999/5/EC. The Declaration of Conformity you find here: www.technaxx.de/ (in bar at the bottom “Konformitätserklärung”). Before using the device the first time, read the user manual carefully.

Service phone No. for technical support: 01805 012643 (14 cent/minute from German fixed-line and 42 cent/minute from mobile networks). Free Email: support@technaxx.de

If you drill a hole in the wall, please make sure that power cables, electrical cords and/or pipelines are not damaged. When using the supplied mounting material, we do not take the liability for a professional installation. You are entirely responsible to ensure that the mounting material is suitable for the particular masonry, and that the installation is done properly. When working at higher altitudes, there is danger of falling! Therefore, use suitable safeguards.

Security and Disposal Hints for Batteries: Hold children off batteries. When a child swallowed a battery go to a doctors place or bring the child into a hospital promptly! Look for the right polarity (+) and (–) of batteries! Always change all batteries. Never use old and new batteries or batteries of different types together. Never short, open, deform or load up batteries! Risk of injury! Never throw batteries into fire! Risk of explosion!

Hints for Environment Protection: Packages materials are raw materials and can be recycled. Do not disposal old devices or batteries into the domestic waste. Cleaning: Protect the device from contamination and pollution (use a clean drapery). Avoid using rough, coarse-grained materials/solvents/other aggressive cleaner. Wipe the cleaned device. Important Notice: Should battery fluid leak from a battery, wipe the battery-case with a soft cloth dry. Distributor: Technaxx Deutschland GmbH & Co.KG, Kruppstr. 105, 60388 Frankfurt a.M., Germany

# FEATURES AND SPECIFICATIONS

## Overview

This series product is an excellent digital monitor product designed for security field. It adopts embedded Linux OS to maintain reliable operation. It is easy to use and can realize surveillance function after some simple setups. It has various functions such as record, playback, monitor at the same time and can guarantee audio video synchronization. This series product has advanced technology and strong network data transmission function.

This series device adopts embedded design to achieve high security and reliability. It can work in the local end, and at the same time, when connecting it to the professional surveillance software (PSS), it can connect to security network to realize strong network and remote monitor function. It can realize HD monitor without changing current cable layout

This series product can be widely used in various areas such as banking, telecommunication, electric power, interrogation, transportation, intelligent resident zone, factory, warehouse, resources, and water conservancy.

## Features

- Real-time monitor: It has analog output port, VGA port and HDMI port. You can use monitor or displayer to realize surveillance function. System supports VGA/HDMI output at the same time.

- Storage function: Special data format to guarantee data security and can avoid vicious data modification.

- Compression format: Support multiple-channel audio and video. An independent hardware decodes the audio and video signal from each channel to maintain video and audio synchronization.

- Backup function: Support backup operation via USB port (such as flash disk, portable HDD, burner). Client-end user can download the file to local HDD to backup via network.

- Record playback function: Support each channel real-time record independently, and at the same time it can support search, forward play, network monitor, record search, download and etc. Support various playback modes: slow play, fast play, backward play and frame by frame play. Support time title overlay so that you can view event accurate occurred time Support specified zone enlargement.

- Network operation: Support network remote real-time monitor, remote record search and remote PTZ control.

- Alarm activation function: Several relay alarm outputs to realize alarm activation and on-site light control. The alarm input port and output has the protection circuit to guarantee device safety.

- Communication port: RS485 port can realize alarm input and PTZ control.

RS232 port can connect to keyboard to realize central control, and can also connect to PC COM to upgrade system and realize maintenance, and matrix control. Standard Ethernet port can realize network access function.

- PTZ control: Support PTZ decoder via RS485. Support various decode protocols to allow the PTZ to control the speed dome.

- Intelligent operation: Mouse operation function, in the menu, support copy and paste setup function

- UpnP: It is to establish the mapping relationship between the LAN and the WAN via the UPnP protocol.

Slight function differences may be found due to different series.

## Specifications

### Midi Security Kit PRO FullHD1080P TX-51

|  | Parameters |  |
| --- | --- | --- |
| System | Main Processor | Industrial embedded micro controller |
|  | OS | Embedded LINUX |
| Video Parameters | Video Encode Standard | H.264 |
|  | Encode Resolution | 1080P /720P/D1/HD1/2CIF/CIF/QCIF |
|  | Video Frame Rate | PAL:1~25f/s；NTSC：1~30f/s |
|  | Video Frame Rate | 2048Kbps-6144Kbps， For 1080P: default setup is 4Mbps，max supports 6Mbps |
|  | Bit Stream Type | Video stream/composite stream |
|  | Dual-Stream | Support |
| Audio Parameters | Encode Standard | G.711A/G.711U/PCM |
|  | Audio Sampling Rate | 8KHz，16Bit |
|  | Audio Bit Rate | 64Kbps |
| Video Port | Analog Video Input | 4-channel，BNC port |
|  | Network Video Input | N/A |
|  | Video Output | 1-channel VGA output， 1-channel HDMI output (of the same video source)， HDMI/ VGA video output at the same time. |
|  | Loop Output | N/A |
|  | Matrix Output | N/A |
| Audio Port | Audio Input | N/A |
|  | Audio Output | N/A |
|  | Bidirectional Talk Input | N/A |
| Record | Record Mode | Schedule record/manual record/MD record/Alarm record |
|  | Record Playback | Max 4-channel playback |
|  | Backup Mode | HDD, burner, USB device, network backup |
| Alarm | Alarm Input | N/A |
|  | Alarm Output | N/A |
| HDD | HDD Port | 1 SATA port，does not support eSATA port |
|  | One HDD Space | 4T |
| Coomunication Port | Network | 1 RJ45 port, 100Mbps Ethernet port |
|  | Communication | N/A |
|  | USB | 2 USB ports |
| Others | Power | DC12V |
|  | Power Consuption | ≤20W（With power adapeter, no HDD） |
|  | Working Temperature | -10℃－＋55℃ |
|  | Working Humidity | 10%~90% |
|  | Dimensions | SMART 1U case，270mm（W）×205mm（D）×41mm（H） |
|  | Weight | 1.25KG（No HDD） |
|  | Installation Mode | Desk |

# Overview and Controls

This section provides information about front panel and rear panel. When you install this series DVR for the first time, refer to this part first.

## Front Panel

There is no button on the front panel of the Smart Box. There is no need to introduce the front panel.

### Midi Security Kit PRO FullHD1080P TX-51

The front panel is shown as below. See Figure 2-1.

Figure 2-1

Refer to the following sheet for front panel button information.

| SN | Name | Function |
| --- | --- | --- |
| 1 | HDD status indictor light | The red light becomes on when HDD is abnormal. |
| 2 | Power indicator light | The red light becomes on when the power connection is OK. |
| 3 | Network status indicator light | The red light becomes on when the network connection is abnormal. |

## Rear Panel

### Midi Security Kit PRO FullHD1080P TX-51

The rear panel of Midi Security Kit Pro TX-51 is shown as below. See Figure 2-2.

Refer to the following sheet for detailed information.

Figure 2-2

| SN | Icon | Name | Note |
| --- | --- | --- | --- |
| 1 |  | GND | Ground end |
| 2 | VGA | VGA video output port | VGA video output port. Output analog video signal. Can connect to the monitor to view ananlog video output. |
| 3 |  | USB2.0 port | Connect to USB storage device, mouse, burning DVD-ROM and etc. |
| 4 | VIDEO IN | Video input port | Connect to analog camera, video input signal. |
| 5 |  | Power input port | Input 12V DC. |
| 6 | HDMI | High definition media interface | High definition audio and video signal output port. It transmits uncompressed high definition video and multiple-channel data to the HDMI port of the display device. |
| 7 |  | Network port | 100M Ethernet port |

When connect the Ethernet port, use crossover cable to connect the PC and use the straight cable to connect to the switcher or router.

## Connection Sample

### Midi Security Kit PRO FullHD1080P TX-51

Refer to the following sheet for detailed information.

Figure 2-8

## Remote Control (for all 3 receivers the same)

The remote control interface is shown as in Figure 2-9.

Note: remote control is not our standard accessory and it is not included in the accessory bag.

Figure 2-9

Remote Contol Functions

| Serial Number | Name | Function |
| --- | --- | --- |
| 1 | Power button | Click it to boot up or shut down the device. |
| 2 | Address | Click it to input device number, so that you can control it. |
| 3 | Forward | Various forward speeds and normal speed playback. |
| 4 | Slow play | Multiple slow play speeds or normal playback. |
| 5 | Next record | In playback mode, playback the next video. |
| 6 | Previous record | In playback mode, playback the previous video. |
| 7 | Play/Pause | In pause mode, click this button to realize normal playback. |
|  |  | In normal playback click this button to pause playback. |
|  |  | In real-time monitor mode, click this button to enter video search menu. |
| 8 | Reverse/pause | Reverse playback pause mode, click this button to realize normal playback. |
|  |  | In reverse playback click this button to pause playback. |
| 9 | Cancel | Go back to previous menu or cancel current operation (close upper interface or control) |
| 10 | Record | Start or stop record manually In record interface, working with the direction buttons to select the record channel. Click this button for at least 1.5 seconds, system can go to the Manual Record interface. |
| 11 | Direction keys | Switch current activated control, go to left or right. In playback mode, click up/down button to switch playback channel. In 1-window playback mode, click left/right button to control playback speed. . Aux function(such as switch the PTZ menu, enable/disable reuse button) |
| 12 | Confirm /menu key | go to default button go to the menu |
| 13 | Multiple-window switch | Switch between multiple-window and one-window. |
| 14 | Auxiliary key | In 1-ch monitor mode: pop up assistant function：PTZ control and Video color. |
|  |  | Switch the PTZ control menu in PTZ control interface. |
|  |  | In motion detection interface, working with direction keys to complete setup. |
|  |  | In text mode, click it to delete character. |
| 15 | 0-9 number key | Input password, channel or switch channel. |
|  |  | Shift is the button to switch the input method. |

## Mouse Control (via the remote control)

| Left click mouse | System pops up password input dialogue box if you have not logged in. In real-time monitor mode, you can go to the main menu. |
| --- | --- |
|  | When you have selected one menu item, left click mouse to view menu content. |
|  | Implement the control operation. |
|  | Modify checkbox or motion detection status. |
|  | Click combo box to pop up drop down list |
|  | In input box, you can select input methods. Left click the corresponding button on the panel you can input numeral/English character (small/capitalized). Here ← stands for backspace button. ＿ stands for space button. In English input mode: _stands for input a backspace icon and ← stands for deleting the previous character. In numeral input mode: _ stands for clear and ← stands for deleting the previous numeral. When input special sign, you can click corresponding numeral in the front panel to input. For example, click numeral 1 you can input“/” , or you can click the numeral in the on-screen keyboard directly. |
| Double left click mouse | Implement special control operation such as double click one item in the file list to playback the video. |
|  | In multiple-window mode, double left click one channel to view in full-window. Double left click current video again to go back to previous multiple-window mode. |
| Right click mouse | In real-time monitor mode, pops up shortcut menu: one-window, four-window, nine-window and sixteen-window, Pan/Tilt/Zoom, color setting, search, record, alarm input, alarm output, main menu. Among which, Pan/Tilt/Zoom and color setting applies for current selected channel. If you are in multiple-window mode, system automatically switches to the corresponding channel. |
|  | Exit current menu without saving the modification. |
| Press middle button | In numeral input box: Increase or decrease numeral value. |
|  | Switch the items in the check box. |
|  | Page up or page down |
| Move mouse | Select current control or move control |
| Drag mouse | Select motion detection zone |
|  | Select privacy mask zone. |

# Installation and Connections

Note: All the installation and operations here should conform to your local electric safety rules.

## Check Unpacked DVR

When you receive the DVR from the forwarding agent check whether there is any visible damage. The protective materials used for the package of the DVR can protect most accidental clashes during transportation. Then you can open the box to check the accessories.

Check the items in accordance with the list. Finally you can remove the protective film of the DVR.

## About Front Panel and Rear Panel

The model label in the front panel is very important; check according to your purchase order.

The label in the rear panel is very important too. Usually we need you to represent the serial number when we provide the service after sales.

## HDD Installation

You can refer to the Appendix for recommended HDD brand. Use HDD of 7200rpm or higher.

Follow the instructions below to install hard disk.

All the figurers listed below are for reference only. Slight difference may be found on the front or rear panel.

### Midi Security Kit PRO FullHD1080P TX-51

The series DVR has one SATA HDD.

Important:

- You can connect the HDD data cable and the power cable first and then fix the HDD in the device.

- Pay attention to the front cover. It adopts the vertical sliding design. You need to push the clip first and then put down.

Important: You can connect the HDD data cable and the power cable first and then fix the HDD in the device. Pay attention to the front cover. It adopts the vertical sliding design. You need to push the clip first and then put down.

## Connecting Power Supply

Check input voltage and device power button match or not.

We recommend you use UPS to guarantee steady operation, DVR life span, and other peripheral equipments operation such as cameras.

## Connecting Video Input and Output Devices

### Connecting Video Input

{0>硬盘录像机的视频输入口为BNC头，输入信号要求为：PAL/NTSC　BNC（1.0VP- P ，  75Ω）。<}0{>The video input interface is BNC. The input video format includes:  PAL/NTSC　BNC（1.0VBP- P ，  B75Ω.）

{0>视频信号应符合国家标准，有较高的信噪比、低畸变、低干扰；图像要求清晰、无形变、色彩真实自然、亮度合适。<}0{>The video signal should comply with your national standards. The input video signal shall have high SNR, low distortion; low interference, natural color and suitable lightness.<0}

{0>保证摄像机信号的稳定可靠：<}0{>Guarantee the stability and reliability of the camera signal:

The camera shall be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc. <0}{0>摄像机电源应和硬盘录像机共地，并且稳定可靠，以保证摄像机的正常工作。<}0{>The camera and the DVR should have the same grounding to ensure the normal operation of the camera.<0}

{0>保证传输线路的稳定可靠：<}0{>Guarantee stability and reliability of the transmission line<0}BTTTB

{0>采用高质量、屏蔽好的视频同轴线，并依据传输距离的远近选择合适型号。<}0{>Use high quality, sound shielded BNC. Select suitable BNC model according to the transmission distance. <0}{0>如果距离过远，应依据具体情况，采用双绞线传输、添加视频补偿设备、光纤传输等方式以保证信号质量。<}0{>If the distance is too long, you should use twisted pair cable, and you can add video compensation devices or use optical fiber to ensure video quality. <0}{0>视频信号线应避开有强电磁干扰的其他设备和线路，特别应避免高压电流的串入。<}0{>You should keep the video signal away from the strong electromagnetic interference, especially the high tension current. <0}

{0>保证接线头的接触良好：<}0{>Keep connection lugs in well contact<0}BTTTB

{0>信号线和屏蔽线都应牢固、良好的连接，避免虚焊、搭焊，避免氧化。<}0{>The signal line and shielded wire should be fixed firmly and in well connection. Avoid dry joint, lap welding and oxidation.<0}BTTTB

### Connecting Video Output

Video output includes a BNC(PAL/NTSC1.0VP-P ，75Ω）output ,a VGA output and HDMI output. System supports BNC, VGA and HDMI output at the same time.

{0>在选择使用计算机用显示器替代监视器时应注意如下问题：<}0{>When you are using pc-type monitor to replace the monitor, pay attention to the following points:<0}

- {0>不宜保持长时间的开机状态，延缓设备的老化；<}0{>To defer aging, do not allow the pc monitor to run for a long time.

- {0>经常性的消磁，利于保持显示器的正常工作状态；<}0{>Regular demagnetization will keep device maintain proper status.<0}

- {0>远离强电磁干扰设备。<}0{>Keep it away from strong electromagnetic interference devices.<0}

{0>使用电视机作为视频输出设备是一种不可靠的替代方式。<}0{>Using TV as video output device is not a reliable substitution method. You also <0}{0>它同样要求尽量减少使用时间和严格控制电源、相邻设备所带来的干扰。<}0{>the need to reduce the working hour and control the interference from power supply and other devices. <0}{0>劣质电视机的漏电隐患则可能导致其他设备的损毁。<}0{>The low quality TV may result in device damage.<0}

## Connecting Audio Input & Output, Bidirectional Audio

### Audio Input

{0>视通4/8路采用BNC口连接，16路的音频输入则通过25针转接线的RCA口连接。<}0{>These series products audio input port adopt BNC port. <0}{0>音频输入阻抗较高，因此拾音器必须采用有源拾音器。<}0{>Due to high impedance of audio input, use active sound pick-up. {0>音频传输与视频输入类似，要求线路尽量避免干扰，避免虚焊、接触不良，并且特别注意防止高压电流的串入。<}0{>Audio transmission is similar to video transmission. Try to avoid interference, dry joint, loose contact and it shall be away from high tension current.

### Audio Output

{0>硬盘录像机的音频输出信号参数为：2000mvp-p  1KΩ(BNC)，可以直接外接低阻抗值耳机、有源音箱或者通过功放驱动其他声音输出设备。<}0{>The audio output signal parameter is usually over 200mv 1KΩ (BNC or RCA). It can directly connect to low impedance earphone, active sound box or amplifier-drive audio output device. <0}{0>在外接音箱和拾音器无法实现空间隔离的情况下，容易产生输出啸叫现象。<}0{>If the sound box and the pick-up cannot be separated spatially, it is easy to arouse squeaking. <0}{0>此时可采取的措施有：<}0{>In this case you can adopt the following measures:<0}

- {0>采用定向性较好的拾音器；<}0{>Use better sound pick-up with better directing property.<0}

- {0>调节音箱音量，使之低于产生啸叫的域值；<}0{>Reduce the volume of the sound box.<0}

- {0>使用环境的装修多使用吸音材料，减少声音的反射，改善声学环境；<}0{>Using more sound-absorbing materials in decoration can reduce voice echo and improve acoustics environment.<0}

- {0>调整拾音器和音箱的布局，也能减少啸叫情况的发生。<}0{>Adjust the layout to reduce happening of the squeaking.<0}

## Alarm Input and Output Connection

Read the followings before connecting.

{0>１、报警输入<}0{>1. Alarm input<0}

{0>a、 首先确定报警输入为接地报警输入或电压量报警输入。<}0{>a. Make sure alarm input mode is grounding alarm input.<0}

{0>b、 报警输入要求：D1\HD1系列产品为5~15V之间的电压信号，应防止电压差的存在使输入的报警电压过高或过低；CIF系列产品要求为地的电压信号。<}0{>b. Grounding signal is needed for alarm input.

c. Alarm input needs the low level voltage signal.

d. Alarm input mode can be either NC (normal Open) or NO (Normal Close)

e. When you are connecting two DVRs or you are connecting one DVR and one other device, use a relay to separate them,

{0>２、报警输出<}78{>2. Alarm output<0}

{0>硬盘录像机的报警输出不能连接大功率负载，在构成输出回路时应防止电流过大导致继电器的损毁。<}0{>The alarm output port should not be connected to high power load directly (It shall be less than 1A) to avoid high current which may result in relay damage. Use t<0}{0>使用大功率负载需要用接触器隔离。<}0{>he co contactor to realize the connection between the alarm output port and the load.

3. {0>３、云台解码器连接<}0{>How to connect PTZ decoder<0}

{0>ａ、必须做好云台解码器与硬盘录像机的共地，否则可能存在的共模电压将导致无法控制云台。<}0{>a. Ensure the decoder has the same grounding with DVR, otherwise you may not control the PTZ. <0}{0>建议使用屏蔽双绞线，其屏蔽层用于共地连接。<}0{>Shielded twisted wire is recommended and the shielded layer is used to connect to the grounding.<0}

{0>ｂ、防止高电压的串入，合理布线，做好防雷措施。<}0{>b. Avoid high voltage. Ensure proper wiring and some thunder protection measures.<0}

{0>ｃ、信号线过长时需在远端并入120欧姆电阻减小反射，保证信号质量。<}0{>c. For too long signal wires, 120Ω should be parallel connected between A, B lines on the far end to reduce reflection and guarantee the signal quality.<0}

d. {0>ｄ、硬盘录像机的485的ＡＢ线不能与其他４８５输出设备并接。<}0{>“485 A, B” of DVR cannot parallel connect with “485 port” of other device.<0}

{0>e、 解码器AB线之间电压要求小于5V<}0{>e. The voltage between of A,B lines of the decoder should be less than 5v.

4. Make sure the front-end device has soundly earthed.

Improper grounding may result in chip damage.

### Alarm Output Port

- Provide external power to external alarm device.

- To avoid overloading, read the following relay parameters sheet carefully.

- RS485 A/B cable is for the A/B cable of the PTZ decoder.

- T+,T-,R+,R- are four-wire double duplex RS485 port.

T+ T-: output wire, R+ R-: input wire

Relay Specification<0}

| Model: | JRC-27F |
| --- | --- |
| Material of the touch | Silver |
| Rating（Resistance Load） | Rated switch capacity | 30VDC 2A, 125VAC 1A |
|  | Maximum switch power | 125VA 160W |
|  | Maximum switch voltage | 250VAC, 220VDC |
|  | Maximum switch currency | 1A |
| Insulation | Between touches with same polarity | 1000VAC 1minute |
|  | Between touches with different polarity | 1000VAC 1minute |
|  | Between touch and winding | 1000VAC 1minute |
| Surge voltage | Between touches with same polarity | 1500V (10×160us) |
| Length of open time | 3ms max |
| Length of close time | 3ms max |
| Longevity | Mechanical | 50×106 times (3Hz) |
|  | Electrical | 200×103 times (0.5Hz) |
| Temperature | -40℃ ~+70℃ |

## Other Interfaces

There are still other interfaces on the DVR, such as USB port.

# Overview of Navigation and Controls

## Boot up and Shutdown

### Boot up

Before the boot up, make sure:

- The rated input voltage matches the device power on-off button. Make sure the power wire connection is OK. Then click the power on-off button.

- Always use the stable current, if necessary UPS is a best alternative measure.

Follow the steps listed below to boot up the device.

- Connect the device to the monitor and then connect a mouse.

- Connect power cable.

- Click the power button at the front or rear panel and then boot up the device. After device booted up, the system is in multiple-channel display mode by default.

### Shutdown

Note

- When you see corresponding dialogue box “System is shutting down…” Do not click power on-off button directly.

- Do not unplug the power cable or click power on-off button to shutdown device directly when device is running (especially when it is recording.)

There are three ways for you to log out.

- Main menu (RECOMMENDED)

From Main Menu->Shutdown, select shutdown from dropdown list.

Click OK button, you can see device shuts down.

- From power on-off button on the front panel or remote control

Press the power on-off button on the DVR front panel or remote control for more than 3 seconds to shutdown the device.

- From power on-off button on the rear panel.

### Auto Resume after Power Failure

The system can automatically backup video and resume previous working status after power failure.

### Replace Button Battery

Make sure to use the same battery model if possible.

We recommend replace battery regularly (such as one-year) to guarantee system time accuracy.

Note:

Before replacement, save the system setup, otherwise, you may lose the data completely!

## Startup Wizard

After device successfully booted up, it goes to startup wizard.

Click Cancel/Next button, you can see system goes to login interface.

Tips: Check the box Startup button here, system goes to startup wizard again when it boots up the next time.

Cancel the Startup button, system goes to the login interface directly when it boots up the next time.

Figure 4-1

Click Cancel button or Next Step button, system goes to login interface. See Figure 4-2.

System consists of four accounts:

- Username: admin.  Password: admin. (administrator, local and network)

- Username: 888888. Password: 888888. (administrator, local only)

- Username: 666666. Password: 666666(Lower authority user who can only monitor, playback, backup and etc.)

- Username: default. Password: default (hidden user). Hidden user “default” is for system interior use only and can not be deleted. When there is no login user, hidden user “default” automatically login. You can set some rights such as monitor for this user so that you can view some channel view without login.

Figure 4-2

Note:

For security reason, modify password after you first login.

Within 30 minutes, three times login failure will result in system alarm and five times login failure will result in account lock!

Click OK button, you can go to General interface. See Figure 4-3.

For detailed information, refer to chapter 4.10.5.1.

Figure 4-3

Click Next button, you can go to network interface. See Figure 4-4.

For detailed information, refer to chapter 4.9.3.

Figure 4-4

Click Next button, you can go to Schedule interface. See Figure 4-5.

For detailed information, refer to chapter 4.10.4.1.1.

Figure 4-5

Click Finish button, system pops up a dialogue box. Click the OK button, the startup wizard is complete. See Figure 4-6.

Figure 4-6

## Manual Record

### Live Viewing

After you logged in, the system is in live viewing mode. You can see system date, time, channel name and window No. If you want to change system date and time, you can refer to general settings (Main Menu->Setting->System->General). If you want to modify the channel name, refer to the display settings (Main Menu->Camera->CAM name).

| 1 |  | Recording status | 3 |  | Video loss |
| --- | --- | --- | --- | --- | --- |
| 2 |  | Motion detection | 4 |  | Camera lock |

Tips

- Preview drag: If you want to change position of channel 1 and channel 2 when you are previewing, you can left click mouse in the channel 1 and then drag to channel 2, release mouse you can switch channel 1 and channel 2 positions.

- Use mouse middle button to control window split: You can use mouse middle button to switch window split amount.

Preview Control

The preview control function has the following features.

- Support preview playback.

  - In the preview desktop, system can playback previous 5-60 minutes record of current channel. Go to the Main Menu->General to set real-time playback time.

  - Support drag and play function. You can use your mouse to select any playback start time.

  - Support playback, pause and exit function.

  - Right now, system does not support slow playback and backward playback function.

- Support digital zoom function.

- Support real-time backup function.

You can follow the contents listed below for the operation instruction.

Preview control interface

Move you mouse to the top centre of the video of current channel, you can see system pops up the preview control interface. See Figure 4-7 and Figure 4-8. If your mouse stays in this area for more than 6 seconds and has no operation, the control bar automatically hides.

Figure 4-7  Analog Channel

Figure 4-8  Digital Channel

- Realtime playback

It is to playback the previous 5-60 minutes record of current channel.

Go to the Main menu->Setting->->System->General to set real-time playback time.

System may pop up a dialogue box if there is no such record in current channel.

- Digital zoom

It is to zoom in specified zone of current channel. It supports zoom in function of multiple-channel.

Click button, the button is shown as.

There are two ways for you to zoom in.

- Drag the mouse to select a zone, you can view an interface show as Figure 4-9.

Figure 4-9

- Put the middle button at the centre of the zone you want to zoom in, and move the mouse, you can view an interface shown as in Figure 4-10.

Figure 4-10

Right click mouse to cancel zoom and go back to the original interface.

- Manual record function

It is to backup the video of current channel to the USB device. System can not backup the video of multiple-channel at the same time.

Click button, system begins recording. Click it again, system stops recoridng. You can find the record file on the flash disk.

- Manual Snapshot

Click  to snapshot 1-5 times. The snapshot file is saved on the USB device or HDD. You can go to the Search interface (chapter 4.8.1) to view.

- Mute (For analog channel only)

Click to mute. Click again to enable audio function when preview.

Note this function is for one-window mode only or the max-size window of the 8-window mode.

- Bidirectional talk (For digital channel only)

If the connected front-end device supports bidirectional talk function, you can click this button. Click button  to start bidirectional talk function the icon now is shown as   . Now the rest bidirectional talk buttons of digital channel becomes null too.

Click  again, you can cancel bidirectional talk and the bidirectional talk buttons of other digital channels become as.

- Remote device (For digital channel only)

Shortcut menu. Click it to go to the remote device interface to add/delete remote device or view its corresponding information. Refer to chapter 4.10.1.1.1 for detailed information.

## Right-Click Menu

On the preview interface, right click mouse, you can view menu interface shown as in Figure 4-11.

Tips

After you go to the corresponding interface, right click mouse to go back to the upper-level.

Figure 4-11

### Window Switch

System supports 1/4-window. You can select from the dropdown list. See Figure 4-12.

Figure 4-12

### PTZ Control

The PTZ setup is shown as in See Figure 4-13.

Note the commend name is grey once device does not support this function.

The PTZ operation is only valid in one-window mode.

Here you can control PTZ direction, speed, zoom, focus, iris, preset, tour, scan, pattern aux function, light and wiper, rotation and etc.  Speed is to control PTZ movement speed. The value ranges from 1 to 8.The speed 8 is faster than speed 1. You can use the remote control to click the small keyboard to set.

You can click  and  of the zoom, focus and iris to zoom in/out, definition and brightness.

The PTZ rotation supports 8 directions. If you are using direction buttons on the front panel, there are only four directions: up/down/left/right.

Figure 4-13

In the middle of the eight direction arrows, there is a 3D intelligent positioning key. See Figure 4-14. Make sure your protocol supports this function and you need to use mouse to control.

Click this key, system goes back to the single screen mode. Drag the mouse in the screen to adjust section size. The dragged zone supports 4X to 16X speeds. It can realize PTZ automatically. The smaller zone you dragged, the higher the speed.

Figure 4-14

| Name | Function key | function | Shortcut key | Function key | function | Shortcut key |
| --- | --- | --- | --- | --- | --- | --- |
| Zoom |  | Near |  |  | Far | ( |
| Focus |  | Near | │( |  | Far | ►│ |
| Iris |  | close | (( |  | Open | (( |

In Figure 4-13, click  to open the menu, you can set preset, tour, pattern, scan and etc. See Figure 4-15.

Figure 4-15

Refer to the following sheet for detailed information.

Note the above interface may vary due to different protocols. The button is grey and can not be selected once the current function is null. Right click mouse or click the ESC button at the front panel to go back to the Figure 4-13.

| Icon | Function | Icon | Function |
| --- | --- | --- | --- |
|  | Preset |  | Flip |
|  | Tour |  | Reset |
|  | Pattern |  | Aux |
|  | Scan |  | Aux on-off button |
|  | Rotate |  | Go to menu |

#### PTZ Function Setup

Click, you can go to the following interface to set preset, tour, pattern, and scan. See Figure 4-16.

Figure 4-16

Preset Setup

In Figure 4-16, click preset button and use eight direction arrows to adjust camera to the proper position. The interface is shown as in Figure 4-17.

Click Set button and then input preset number. Click Set button to save current preset.

Figure 4-17

Tour Setup

In Figure 4-16, click tour button.

Input tour value and preset No. Click Add preset button to add current preset to the tour. See Figure 4-18.

Tips

Repeat the above steps to add more presets to the tour. Click Del preset button to remove it from the tour. Note some protocols do not support delete preset function.

Figure 4-18

Pattern Setup

In Figure 4-16, click Pattern button and input pattern number.

Click Begin button to start direction operation. Or you can go back to Figure 4-13 to operate zoom/focus/iris/direction operation.

In Figure 4-16, click End button.

Figure 4-19

Scan Setup

In Figure 4-16, click Scan button.

Use direction buttons to set camera left limit and then click Left button.

Use direction buttons to set camera right limit and then click Right button. Now the scan setup process is complete.

Figure 4-20

#### Call PTZ Function

Call Preset

In Figure 4-15, input preset value and then click  to call a preset. Click  again to stop call.

Call Pattern

In Figure 4-15, input pattern value and then click  to call a pattern. Click  again to stop call.

Call Tour

In Figure 4-15, input tour value and then click  to call a tour. Click again  to stop call.

Call Scan

In Figure 4-15, input Scan value and then click  to call a tour. Click again  to stop call.

Rotate

In Figure 4-15, click  to enable the camera to rotate.

System supports preset, tour, pattern, scan, rotate, light and etc function.

Note:

- Preset, tour and pattern all need the value to be the control parameters. You can define it as you require.

- You need to refer to your camera user’s manual for Aux definition. In some cases, it can be used for special process.

Aux

Click, system goes to the following interface. The options here are defined by the protocol. The aux number is corresponding to the aux on-off button of the decoder. See Figure 4-21.

Figure 4-21

### Color

Here you can set hue, brightness, contrast, saturation, gain, white level, color mode and etc. See Figure 4-22.

Figure 4-22

Refer to the following sheet for detailed information.

| Item | Note |
| --- | --- |
| Period | There are two periods in one day. You can set different sharpness, brightness, and contrast setup for different periods. |
| Effective Time | Check the box here to enable this function and then set period time. |
| Sharpness | The value here is to adjust the edge of the video. The value ranges from 0 to 100. The larger the value is, the clear the edge is and vice versa. Note there is noise if the value here is too high. The default value is 50 and the recommended value ranges from 40 to 60. |
| Brightness | It is to adjust monitor window bright. The value ranges from 0 to 100. The default value is 50. The larger the number, the bright the video is. When you input the value here, the bright section and the dark section of the video will be adjusted accordingly. You can use this function when the whole video is too dark or too bright. Note the video may become hazy if the value is too high. The recommended value ranges from 40 to 60. |
| Contrast | It is to adjust monitor window contrast. The value ranges from 0 to 100. The default value is 50. The larger the number, the higher the contrast is. You can use this function when the whole video bright is OK but the contrast is not proper. Note the video may become hazy if the value is too low. If this value is too high, the dark section may lack brightness while the bright section may over exposure .The recommended value ranges from 40 to 60. |
| Saturation | It is to adjust monitor window saturation. The value ranges from 0 to 100. The default value is 50. The larger the number, the strong the color is. This value has no effect on the general brightness of the whole video. The video color may become too strong if the value is too high. For the grey part of the video, the distortion may occur if the white balance is not accurate. Note the video may not be attractive if the value is too low. The recommended value ranges from 40 to 60. |
| Color mode | It includes several modes such as standard, color, bright, gentle. Select a color mode, the sharpness, brightness, contrast and etc can automatically switch to corresponding setup. |
| EQ | Click reset button, device can automatically adjust to the best display effect. |
| Position | It is to adjust the image position on the screen. |
| Customized | Click it to set customized color mode. |

### Search

Refer to chapter 4.8.1 for detailed information.

### Manual Record

Refer to chapter 4.10.4.3.1 for detailed information.

## Navigation Bar

You need to go to the Main menu->Setting->System->General to enable navigation bar function; otherwise you can not see the following interface.

The navigation bar is shown as below. See Figure 4-23.

Figure 4-23

### Main Menu

Click button  to go to the main menu interface.

### Output Screen

Select corresponding window-split mode and output channels.

### Favorites

Click  , system pops up the favorites schemes. Click one item, you can view saved favorite channel split mode and channel number. See Figure 4-24.

Note, right now the favorite scheme name after the window split mode.

Figure 4-24

### Tour

Click button  to enable tour, the icon becomes  , you can see the tour is in process.

### PTZ

Click  , system goes to the PTZ control interface. refer to chapter 4.4.2.

### Color

Click button  , system goes to the color interface. refer to chapter 4.4.3.

### Search

Click button  , system goes to search interface. Refer to chapter 4.8.1

### Alarm Status

Click button  , system goes to alarm status interface. It is to view device status and channel status. Refer to chapter 4.10.3.

### Channel Info

Click button, system goes to the channel information setup interface. It is to view information of the corresponding channel. See Figure 4-25.

Figure 4-25

### Remote Device

Click  , system goes to an interface for you to view remote device information. Refer to chapter 4.10.1.1

### Network

Click  , system goes to the network interface. It is to set network IP address, default gateway and etc. Refer to chapter 4.10.2.

### HDD Manager

Click  ， system goes to the HDD manager interface. It is to view and manage HDD information. Refer to chapter 4.10.4.2.

### USB Manager

Click  ， system goes to the USB Manager interface. It is to view USB information, backup and update. Refer to chapter 4.8.2, chapter 4.9.4, chapter 4.10.5.7, and chapter 4.10.5.9 for detailed information.

## USB Device Auto Pop-up

After you inserted the USB device, system can auto detect it and pop up the following dialogue box.  It allows you to conveniently backup file, log, configuration or update system. See Figure 4-26. Refer to chapter 4.8.2, chapter 4.9.4, chapter 4.10.5.7, and chapter 4.10.5.9 for detailed information.

Figure 4-26

## Main Menu

The main menu interface is shown as below. See Figure 4-27.

Figure 4-27

## Operation

### Search

Click search button in the main menu, search interface is shown as below. See Figure 4-28.

Usually there are three file types: R: Regular recording file. A: External alarm recording file.

M: Motion detection recording file

Figure 4-28

Refer to the following sheet for more information.

| SN | Name | Function |
| --- | --- | --- |
| 1 | Display window | Here is to display the searched picture or file. Support 1/4/8-window playback. |
| 2 | Search type | Here you can select to search the picture or the recorded file. You can select to play from the read-write HDD, from peripheral device or from redundancy HDD. Before you select to play from the peripheral device, connect the corresponding peripheral device. You can view all record files of the root directory of the peripheral device. Click the Browse button; you can select the file you want to play. Important Redundancy HDD does not support picture backup function, but it supports picture playback function. You can select to play from redundancy HDD if there are pictures on the redundancy HDD. |
| 3 | Calendar | The blue highlighted date means there is picture or file. Otherwise, there is no picture or file. In any play mode, click the date you want to see, you can see the corresponding record file trace in the time bar. |
| 4 | Playback mode and channel selection pane. | Playback mode：1/4/9. (It may vary due to different series.) In 1-window playback mode: you can select 1-16 channels. In 4-window playback mode: you can select 4 channels according to your requirement. In 9-window playback mode, you can switch between 1-8 and 9-16 channels. The time bar will change once you modify the playback mode or the channel option. |
| 5 | Card number search | The card number search interface is shown as below. Here you can view card number/field setup bar. You cam implement advanced search. |
| 6 | Mark file list button | Click it to go to mark file list interface. You can view all mark information of current channel by time. Refer to chapter 4.8.1.3 for detailed information. Note only the product of this icon supports mark function. |
| 7 | File list switch button | Double click it, you can view the picture/record file list of current day. The file list is to display the first channel of the record file. The system can display max 128 files in one time. Use the (│and │( or the mouse to view the file. Select one item, and then double click the mouse or click the ENTER button to playback. You can input the period in the following interface to begin accurate search. File type：R—regular record； A—external alarm record；M—Motion detect record. Lock file. Click the file you want to lock and click the button to lock. The file you locked will not be overwritten. Search locked file: Click the button to view the locked file. Return: Click button, system goes back to the calendar and channel setup interface. Note: For the file that is writing or overwriting, it can not be locked. |
| 8 | Playback control pane. | ►/( | Play/Pause There are three ways for you to begin playback. The play button Double click the valid period of the time bar. Double click the item in the file list. In slow play mode, click it to switch between play/pause. |
|  |  | ■ | Stop |
|  |  | ( | Backward play In normal play mode, left click the button, the file begins backward play. Click it again to pause current play. In backward play mode, click ►/( to restore normal play. |
|  |  | │(/(│ | In playback mode, click it to play the next or the previous section. You can click continuously when you are watching the files from the same channel. In normal play mode, when you pause current play, you can click (│ and │( to begin frame by frame playback. In frame by frame playback mode, click ►/( to restore normal playback. |
|  |  | ► | Slow play In playback mode, click it to realize various slow play modes such as slow play 1, slow play 2, and etc. |
|  |  | ( | Fast forward In playback mode, click to realize various fast play modes such as fast play 1,fast play 2 and etc. |
|  |  | Note: The actual play speed has relationship with the software version. |
|  |  |  | Smart search |
|  |  |  | The volume of the playback |
|  |  |  | Click the snapshot button in the full-screen mode, the system can snapshot 1 picture. System supports custom snap picture saved path. Connect the peripheral device first, click snap button on the full-screen mode, you can select or create path. Click Start button, the snapshot picture can be saved to the specified path. |
|  |  |  | Mark button. Note this function is for some series product only. Make sure there is a mark button in the playback control pane. You can refer to chapter 4.8.1.3 for detailed information. |
| 9 | Time bar | It is to display the record type and its period in current search criteria. In 4-window playback mode, there are corresponding four time bars. In other playback mode, there is only one time bar. Use the mouse to click one point of the color zone in the time bar, system begins playback. The time bar is beginning with 0 o'clock when you are setting the configuration. The time bar zooms in the period of the current playback time when you are playing the file. The green color stands for the regular record file. The red color stands for the external alarm record file. The yellow stands for the motion detect record file. |
| 10 | Time bar unit | ●The option includes: 24H, 12H, 1H and 30M. The smaller the unit, the larger the zoom rate. You can accurately set the time in the time bar to playback the record. The time bar is beginning with 0 o'clock when you are setting the configuration. The time bar zooms in the period of the current playback time when you are playing the file. |
| 11 | Backup | Select the file(s) you want to backup from the file list. You can check from the list. Then click the backup button, now you can see the backup menu. System supports customized path setup. After select or create new folder, click the Start button to begin the backup operation. The record file(s) will be saved in the specified folder. Check the file again you can cancel current selection. System max supports to display 32 files from one channel. After you clip on record file, click Backup button you can save it. For one device, if there is a backup in process, you can not start a new backup operation. |
| 12 | Clip | It is to edit the file. ●Play the file you want to edit and then click this button when you want to edit. You can see the corresponding slide bars in the time bar of the corresponding channel. You can adjust the slide bar or input the accurate time to set the file end time. After you set, you can click Clip button again to edit the second period. You can see the slide bar restore its previous position. Click Backup button after clip, you can save current contents in a new file. You can clip for one channel or multiple-channel. The multiple-channel click operation is similar with the one-channel operation. Note: System max supports 1024 files backup at the same time. You can not operate clip operation if there is any file has been checked in the file list. |
| 13 | Record type | In any play mode, the time bar will change once you modify the search type. |
| Other Functions |
| 14 | Smart search | When system is playing, you can select a zone in the window to begin smart search. Click the motion detect button to begin play. Once the motion detect play has begun, click button again will terminate current motion detect file play. There is no motion detect zone by default. If you select to play other file in the file list, system switches to motion detect play of other file. During the motion detect play process, you can not implement operations such as change time bar, begin backward playback or frame by frame playback. Refer to chapter 4.8.1.1 Smart Search for detailed operation. |
| 15 | Other channel synchronization switch to play when playback | When playing the file, click the number button, system can switch to the same period of the corresponding channel to play. |
| 16 | Digital zoom | When the system is in full-screen playback mode, left click the mouse in the screen. Drag your mouse in the screen to select a section and then left click mouse to realize digital zoom. You can right click mouse to exit. |
| 17 | Manually switch channel when playback | During the file playback process, you can switch to other channel via the dropdown list or rolling the mouse. This function is null if there is no record file or system is in smart search process. |

#### Smart Search

During the multiple-channel playback mode, double click one channel and then click the  button, system begins smart search. System supports 396(22*18 PAL) and 330(22*15 NTSC) zones. Left click mouse to select smart search zones. See Figure 4-29.

Figure 4-29

Click the  , you can go to the smart search playback. Click it again, system stops smart search playback.

Important

- System does not support motion detect zone setup during the full-screen mode.

- During the multiple-channel playback, system stops playback of rest channels if you implement one-channel smart search.

#### Accurate playback by time

Select records from one day, click the list, you can go to the file list interface. You can input time at the top right corner to search records by time. See image on the left side of the Figure 4-30 For example, input time 11:00.00 and then click Search button  , you can view all the record files after 11:00.00 (The records includes current time.). See image on the right side of the Figure 4-30 Double click a file name to playback.

Note

- After you searched files, system implement accurate playback once you click Play for the first time.

- System does not support accurate playback for picture.

- System supports synchronization playback and non-synchronous playback. The synchronization playback supports all channels and non-synchronous playback only supports accurately playback of current select channel.

Figure 4-30

#### Mark Playback

Make sure your purchased device support this function. You can use this function only if you can see the mark playback icon on the Search interface (Figure 4-28).

When you are playback record, you can mark the record when there is important information. After playback, you can use time or the mark key words to search corresponding record and then play. It is very easy for you to get the important video information.

- Add Mark

When system is playback, click Mark button, you can go to the following interface. See Figure 4-31. Figure 4-31

- Playback Mark

During 1-window playback mode, click mark file list button   in Figure 4-28, you can go to mark file list interface. Double click one mark file, you can begin playback from the mark time.

- Play before mark time

Here you can set to begin playback from previous N seconds of the mark time.

Note

Usually, system can playbacks previous N seconds record if there is such kind of record file. Otherwise, system playbacks from the previous X seconds when there is such as kind of record.

- Mark Manager

Click the mark manager button  on the Search interface (Figure 4-28); you can go to Mark Manager interface. See Figure 4-32. System can manage all the record mark information of current channel by default. You can view all mark information of current channel by time.

Figure 4-32

- Modify

Double click one mark information item, you can see system pops up a dialogue box for you to change mark information. You can only change mark name here.

- Delete

Here you can check the mark information item you want to delete and then click Delete button, you can remove one mark item. .

Note

- After you go to the mark management interface, system needs to pause current playback. System resume playback after you exit mark management interface.

- If the mark file you want to playback has been removed, system begin playbacking from the first file in the list.

### Backup

DVR support CD-RW, DVD burner, USB device backup, network download and eSATA. Here we introduce USB, eSATA backup. You can refer to Chapter 5 Web Operation for network download backup operation.

Click backup button, you can see an interface is shown as in Figure 4-33. Here is for you to view devices information.

You can view backup device name and its total space and free space. The device includes CD-RW, DVD burner, USB device, flash disk, eSATA backup.

Figure 4-33

Select backup device and then set channel, file start time and end time.

Click add button, system begins search. All matched files are listed below. System automatically calculates the capacity needed and remained. See Figure 4-35.

Figure 4-34

System only backup files with a  √ before channel name. You can use Fn or cancel button to delete √ after file serial number.

Click Start button, system begins copy. At the same time, the backup button becomes stop button. You can view the remaining time and process bar at the left bottom. See Figure 4-35.

Figure 4-35

When the system completes backup, you can see a dialogue box prompting successful backup.

- File format: Click the file format; you can see there are two options: DAV/ASF.

The file name format usually is: Channel number+Record type+Time. In the file name, the YDM format is Y+M+D+H+M+S. File extension name is .dav.

Tips: During backup process, you can click ESC to exit current interface for other operation. The system will not terminate backup process.

Note: When you click stop button during the burning process, the stop function becomes activated immediately. For example, if there are ten files, when you click stop system just backup five files, system only save the previous 5 files in the device (But you can view ten file names).

### Shut Down

In Figure 4-27, select Shut Down, you can go to the following interface. See

Figure 4-36.

There are three options: Shutdown/logout/reboot. See

Figure 4-36.

For the user who does not have the shut down right, input corresponding password to shut down.

Figure 4-36

## Information

It is for you to view sysem info, event info, and network info and log info.

### System Info

Here is for you to view system information. There are total four items: HDD (hard disk information), record, BPS (data stream statistics), version. See Figure 4-37.

Figure 4-37

#### HDD Information

Here is to list hard disk type, total space, free space, video start time and status. See Figure 4-38.

- SATA: 1 here means system max supports 1 HDD. ○ means current HDD is normal. X means there is error. - means there is no HDD. If disk is damaged, system shows as “?”.Remove the broken hard disk before you add a new one.

- SN: You can view the HDD amount the device connected to. ﹡ means the second HDD is current working HDD.

- Type: The corresponding HDD properties.

- Total space: The HDD total capacity.

- Free space: The HDD free capacity.

- Status: HDD can work properly or not.

- SMART: Display HDD information. See Figure 4-38.

Figure 4-38

Double click one HDD information; you can see the HDD SMART information. See Figure 4-39.

Figure 4-39

#### Record Info

It is to view record start time and end time. See Figure 4-40.

Figure 4-40

#### BPS

Here is for you to view current video data stream (KB/s), resolution and etc. See

Figure 4-41.

Figure 4-41

#### Version

Here is for you to view some version information such as version number, built date, serial number and etc. See Figure 4-42.

Figure 4-42

### Event

It is to display device status and channel status. See Figure 4-43.

Figure 4-43

### Network

#### Online Users

Here is for you to manage online users. See Figure 4-44.

You can disconnect one user or block one user if you have proper system right. Max disconnection setup is 65535 seconds.

System detects there is any newly added or deleted user in each five seconds and refresh the list automatically.

Figure 4-44

#### Network Load

Network load is shown as in Figure 4-45. Here you can view the follow statistics of the device network adapter.

Here you can view information of all connected network adapters. The connection status is shown as offline if connection is disconnected. Click one network adapter, you can view the flow statistics such as send rate and receive rate at the top panel.

Figure 4-45

#### Network Test

Network test interface is shown as in Figure 4-46.

- Destination IP: Input valid IPV4 address or domain name.

- Test: Click it to test the connection with the destination IP address. The test results can display average delay and packet loss rate and you can also view the network status as OK, bad, no connection and etc.

- Network Sniffer backup: Insert USB2.0 device and click the Refresh button, you can view the device on the following column. You can use the dropdown list to select peripheral device. Click Browse button to select the snap path. The steps here are same as preview backup operation.

You can view all connected network adapter names (including Ethernet, PPPoE, WIFI, and 3G), you can click the button   on the right panel to begin Sniffer. Click the grey stop button to stop. Note system can not Sniffer several network adapters at the same time.

After Sniffer began, you can exit to implement corresponding network operation such as login WEB, monitor. Go back to Sniffer interface to click   stop Sniffer. System can save the packets to the specified path. The file is named after “Network adapter name+time”. You can use software such as Wireshark to open the packets on the PC for the professional engineer to solve complicated problems.

Figure 4-46

### Log

Here is for you to view system log file. System lists the following information. See Figure 4-47.

Log types include system operation, configuration operation, data management, alarm event, record operation, account manager, log clear, file operation and etc. It optimized reboot log. There are only three types: normal reboot, abnormal reboot and protection reboot. 0x02、0x03、0x04 is included in the protection reboot type.

- Start time/end time: Select start time and end time, then click search button. You can view the log files in a list. System max displays 100 logs in one page. It can max save 1024 log files. Use page up/down button on the interface or the front panel to view more.

- Backup: Select a folder you want to save; you can click the backup button to save the log files. After the backup, you can see there is a folder named Log_time on the backup path. Double click the folder, you can see the log file

- Details: Click the Details button or double click the log item, you can view the detailed information. See Figure 4-48. Here you can use rolling bar to view information, or you can use Page up/Page down to view other log information.

Figure 4-47

Select an item on the list and then click the Details button or double click the log item, you can view the detailed information such as log time, log type, log user, IP address and etc. See Figure 4-48.

Figure 4-48

## Setting

It is for you to set camera, network, event, storage, system and etc.

### Camera

Here you can set audio/video property, camera property and channel name, channel type.

#### Remote Device (For digital channel only)

Note: You can see this interface after you set IP channel in chapter 4.10.1.3.5. System supports ONVIF standard protocol.

##### Remote Device

In the main menu, from Camera ->Remote, you can go to an interface shown as in Figure 4-49. Here you can add/delete remote device and view its corresponding information.

- IP search: Click it to search IP address. It includes device IP address, port, device name, manufacturer, type. Use your mouse to click the item name, you can refresh display order. Click IP address, system displays IP address from small to large. Click IP address again, you can see icon, system displays IP address from large to small. You can click other items to view information conveniently.

- Add: Click it to connect to the selected device and add it to the Added device list. Support Batch add.

You can see the corresponding dialogue box if all digital-channel has connected to the front-end.

System can not add new device if the device you want to add has the same IP and TCP port as the device in the list.

- Show filter: You can use it to display the specified devices from the added device.

- Edit: Click button   or double click a device in the list, you can change channel setup.

- Delete: Select one device in the Added device list and then click   to remove.

- Status:   means connection is OK and   means connection failed.

- Delete；Select a device on the Added device list, click Delete button, system disconnect device first and then remove its name from the list.

- Manual add: Click it to add the IPC manually. The port number is 37777. The default user name is admin and password is admin.

Figure 4-49

Click the Manual Add button; you can go to the following interface. See Figure 4-50.

Channel number：The dropdown list here displays unconnected channel number. You can go to Figure 4-49 to set remote channel connection.

Note:

- This series product supports the IPC from many popular manufactures such as Sony, Hitachi, Axis, Samsung, Dynacolor, Arecont, Onvif and Dahua.

- System default IP address is 192.168.0.0 if you do not input IP address. System will not add current IP address.

- You can not add two or more devices in the Manual Add interface (Figure 4-50). Click OＫbutton, system connects to the corresponding front-end device of current channel on the interface.

Figure 4-50

##### Channel Status

Here you can view the IPC status of the corresponding channel such as motion detect, video loss, tampering, alarm and etc. See Figure 4-51.

- IPC status :: Front-end does not support. : Front-end supports.  : There is alarm event from current front-end.

- Connection status :: Connection succeeded. : Connection failed.

- Refresh: Click it to get latest front-end channel status.

Figure 4-51

##### Firmware

It is to view channel, IP address, manufacturer, type, system version, SN, video input, audio input, and etc. See Figure 4-52.

Figure 4-52

##### Remote Upgrade

It is to update the camera. From main menu->setting->camera->remote, the interface is shown as below. See Figure 4-53. Click Browse button and then select the upgrade file. Then select a channel (or you can select device type filter to select several devices at the same time.) Click Start upgrade button to update. You can see the corresponding dialogue once the upgrade is finish.

Figure 4-53

#### Camera

For analog channel, the camera interface is shown as in Figure 4-54. For digital channel, the camera interface is shown as in Figure 4-55.

- Channel: Select a channel from the dropdown list.

- Saturation: It is to adjust monitor window saturation. The value ranges from 0 to 100. The default value is 50. The larger the number, the strong the color is. This value has no effect on the general brightness of the whole video. The video color may become too strong if the value is too high. For the grey part of the video, the distortion may occur if the white balance is not accurate.  Note the video may not be attractive if the value is too low. The recommended value ranges from 40 to 60.

- Brightness: It is to adjust monitor window bright. The value ranges from 0 to 100. The default value is 50. The larger the number is, the bright the video is. When you input the value here, the bright section and the dark section of the video will be adjusted accordingly.  You can use this function when the whole video is too dark or too bright. Note the video may become hazy if the value is too high. The recommended value ranges from 40 to 60.

- Contrast: It is to adjust monitor window contrast. The value ranges from 0 to 100. The default value is 50. The larger the number is, the higher the contrast is. You can use this function when the whole video bright is OK but the contrast is not proper. Note the video may become hazy if the value is too low. If this value is too high, the dark section may lack brightness while the bright section may over exposure .The recommended value ranges from 40 to 60.

- Sharpness: The value here is to adjust the edge of the video. The value ranges from 0 to 100. The larger the value is, the clear the edge is and vice versa. Note there is noise if the value here is too high. The default value is 50 and the recommended value ranges from 40 to 60.

- Mirror: It is to switch video up and bottom limit. This function is disabled by default.

- Flip: It is to switch video left and right limit. This function is disabled by default.

- BLC:It includes several options: BLC/WDR/HLC/OFF.

- BLC: The device auto exposures according to the environments situation so that the darkest area of the video is cleared

- WDR: For the WDR scene, this function can lower the high bright section and enhance the brightness of the low bright section. So that you can view these two sections clearly at the same time. The value ranges from 1 to 100. When you switch the camera from no-WDR mode to the WDR mode, system may lose several seconds record video.

- HLC: After you enabled HLC function, the device can lower the brightness of the brightest section according to the HLC control level. It can reduce the area of the halo and lower the brightness of the whole video.

- OFF: It is to disable the BLC function. Note this function is disabled by default.

- Profile: It is to set the white balance mode. It has effect on the general hue of the video. This function is on by default. You can select the different scene mode such as auto, sunny, cloudy, home, office, night, disable and etc to adjust the video to the best quality.

- Auto: The auto white balance is on. System can auto compensate the color temperature to make sure the vide color is proper.

- Sunny: The threshold of the white balance is in the sunny mode.

- Night: The threshold of the white balance is in the night mode.

- Customized: You can set the gain of the red/blue channel. The value reneges from 0 to 100.

- Day/night. It is to set device color and the B/W mode switch. The default setup is auto.

- Color: Device outputs the color video.

- Auto: Device auto select to output the color or the B/W video according to the device feature (The general bright of the video or there is IR light or not.)

- B/W: The device outputs the black and white video.

- Sensor: It is to set when there is peripheral connected IR light.

- Image enhancement: It is to enhance video quality. The larger the value is, the clearer the video is. But the noise may become large too.

- 2D NR: It is to process the noise of the single image. The video may become soft after process. The larger the value is, the better the effect is.

- 3D NR: it is to process the multiple-frame (at least two frames). It is to use the frame information between the following two frames to reduce noise. The larger the value is, the better the effect is.

Figure 4-54

Figure 4-55

#### Encode

It is to set video bit stream, picture bit stream, video overlay parameter and etc.

##### Video

Video setting includes the following items. See Figure 4-56.

- Channel: Select the channel you want.

- Type: Select from the dropdown list. There are three options: regular/motion detect/alarm. You can set the various encode parameters for different record types.

- Compression: System supports H.264 and MJPEG.

- Resolution: System supports various resolutions, you can select from the dropdown list. Note the option may vary due to different series.

- Frame rate: It ranges from 1f/s to 25f/s in NTSC mode and 1f/s to 30f/s in PAL mode.

- Bit rate type: System supports two types: CBR and VBR. In VBR mode, you can set video quality.

- Quality: There are six levels ranging from 1 to 6. The sixth level has the highest image quality.

- Video/audio: You can enable or disable the video/audio.

- Audio format: Select from the dropdown list. There are three options: G711a/G711u/PCM

- Audio source: Select from the dropdown list. There are two options: normal/HDCVI. For normal mode, the audio signal is from the Audio In port. For HDCVI mode, the audio signal is from the coaxial cable of the camera.

Figure 4-56

##### Snapshot

Here you can set snapshot mode, picture size, quality and frequency. See Figure 4-57.

- Snapshot mode: There are two modes: regular and trigger. If you set timing mode, you need to set snapshot frequency. If you set trigger snapshot, you need to set snapshot activation operation.

- Image size: Here you can set snapshot picture size.

- Image quality: Here you can set snapshot quality. The value ranges from 1 to 6.

- Interval: It is for you to set timing (schedule) snapshot interval.

Figure 4-57

##### Overlay

Overlay interface is shown as in Figure 4-58.

- Cover area: Here is for you to set cover area. You can drag you mouse to set proper section size. In one channel video, system max supports 4 zones in one channel.

- Preview/monitor: privacy mask has two types. Preview and Monitor. Preview means the privacy mask zone can not be viewed by user when system is in preview status. Monitor means the privacy mask zone can not be view by the user when system is in monitor status.

- Time display: You can select system displays time or not when you playback. Click set button and then drag the title to the corresponding position in the screen.

- Channel display: You can select system displays channel number or not when you playback. Click set button and then drag the title to the corresponding position in the screen.

- Copy：After you complete the setup, you can click Copy button to copy current setup to other channel(s). You can see an interface is shown as in Figure 4-59. You can see current channel number is grey. Check the number to select the channel or you can check the box ALL. Click the OK button in Figure 4-59 and Figure 4-58 respectively to complete the setup.

Highlight icon  to select the corresponding function.

Figure 4-58

Figure 4-59

##### Channel Name

It is to modify channel name. It max supports 31-character. See Figure 4-60.

Figure 4-60

##### Channel Type

It is to set channel type. It supports coaxial/UTP. See Figure 4-61.

Figure 4-61

### Network

#### TCP/IP

The interface is shown as in Figure 4-62

- IP Version: There are two options: IPv4 and IPv6. Right now, system supports these two IP address format and you can access via them.

- MAC address: The host in the LAN can get a unique MAC address. It is for you to access in the LAN. It is read-only.

- IP address: Here you can use up/down button ((() or input the corresponding number to input IP address. Then you can set the corresponding subnet mask the default gateway.

- Default gateway: Here you can input the default gateway. Note system needs to check the validity of all IPv6 addresses. The IP address and the default gateway shall be in the same IP section. That is to say, the specified length of the subnet prefix shall have the same string.

- DHCP: It is to auto search IP. When enable DHCP function, you can not modify IP/Subnet mask /Gateway. These values are from DHCP function. If you have not enabled DHCP function, IP/Subnet mask/Gateway display as zero. You need to disable DHCP function to view current IP information.  Besides, when PPPoE is operating, you can not modify IP/Subnet mask /Gateway.

- MTU: It is to set MTU value of the network adapter. The value ranges from 1280-7200 bytes. The default setup is 1500 bytes. Note MTU modification may result in network adapter reboot and network becomes off. That is to say, MTU modification can affect current network service. System may pop up dialog box for you to confirm setup when you want to change MTU setup. Click OK button to confirm current reboot, or you can click Cancel button to terminate current modification. Before the modification, you can check the MTU of the gateway; the MTU of the DVR shall be the same as or is lower than the MTU of the gateway. In this way, you can reduce packets and enhance network transmission efficiency.

The following MTU value is for reference only.

  - 1500: Ethernet information packet max value and it is also the default value. It is the typical setup when there is no PPPoE or VPN. It is the default setup of some router, switch or the network adapter.

  - 1492: Recommend value for PPPoE.

  - 1468: Recommend value for DHCP.

- Preferred DNS server: DNS server IP address.

- Alternate DNS server: DNS server alternate address.

- Transfer mode: Here you can select the priority between fluency/video qualities.

- LAN download: System can process the downloaded data first if you enable this function. The download speed is 1.5X or 2.0X of the normal speed.

- LAN download: System can process the downloaded data first if you enable this function. The download speed is 1.5X or 2.0X of the normal speed.

After completing all the setups click save button, system goes back to the previous menu.

Figure 4-62

#### Connection

The connection setup interface is shown as in Figure 4-63.

- Max connection: system support maximal 128 users. 0 means there is no connection limit.

- TCP port: Default value is 37777.

- UDP port: Default value is 37778.

- HTTP port: Default value is 80.

- HTTPS port: Default value is 443.

- RTSP port: Default value is 554.

Important: System needs to reboot after you changed and saved any setup of the above four ports. Make sure the port values here do not conflict.

Figure 4-63

#### WIFI

The WIFI interface is shown as below. See Figure 4-64.

- Auto reconnecting WIFI: Check the box here, system automatically connects to the previous WIFI hotspot.

- Refresh: You can click it to search the hotspot list again. It can automatically add the information such as the password if you have set it before.

- Disconnect: Here you can click it to turn off the connection.

- Connect: Here you can click it to connect to the hotspot. System needs to turn off current connection and then connect to a new hotspot if there is connection of you selected one.

Figure 4-64

- WIFI working status: Here you can view current connection status.

Note:

- After successful connection, you can see WIFI connection icon at the top right corner of the preview interface.

- When the hotspot verification type is WEP, system displays as AUTO since the device can not detect its encryption type.

- System does not support verification type WPA and WPA2. The display may become abnormal for the verification type and encryption type.

After device successfully connected to the WIFI, you can view the hotspot name, IP address, subnet mask, default gateway and etc.

#### 3G

3G setup interfaces is shown as below. See Figure 4-65.

Refer to the following contents for the parameter information.

- Pane 1: Display 3G signal intensity after you enabled 3G function.

- Pane 2: Display 3G module configuration information after you enabled 3G function.

- Pane 3: Display 3G module status information after you enabled 3G function.

It is to display current wireless network signal intensity such as EVDO, CDMA1x, WCDMA, WCDMA, EDGE and etc.

- 3G module: It is to display current wireless network adapter name.

- 3G Enable/Disable: Check the box here to enable 3G module.

- Network type: There are various network types for different 3G network modules. You can select according to your requirements.

- APN: It is the wireless connection server. It is to set you access the wireless network via which method.

- AUTH: It is the authentication mode. It supports PAP/CHAP.

- Dial number: Input 3G network dialup number you got from your ISP.

- User name: It is the user name for you to login the 3G network.

- Password: It is the password for you to login the 3G network.

- Pulse interval: You can set dialup duration. Once you disable the extra stream, the connection time begins. For example, if you input 5 seconds here, then 3G network connection period is 5 seconds. The device automatically disconnect when time is up.  If there is no extra stream, 3G network connection is valid all the time. If the alive time is 0, then the 3G network connection is valid all the time.

- Dial: Here you can enable or disable 3G network connection/disconnection manually.

- 3G wireless network: Here is to display wireless network status, SIM card status, dial status. If the 3G connection is OK, then you can see the device IP address the wireless network automatically allocates.

Figure 4-65

#### PPPoE

PPPoE interface is shown as in Figure 4-66.

Input “PPPoE name” and “PPPoE password” you get from your ISP (Internet service provider).

Click save button, you need to restart to activate your configuration.

After rebooting, DVR will connect to internet automatically. The IP in the PPPoE is the DVR dynamic value. You can access this IP to visit the unit.

Figure 4-66

#### DDNS Setup

DDNS setup interface is shown as in Figure 4-67.

You need a PC of fixed IP in the internet and there is the DDNS software running in this PC. In other words, this PC is a DNS (domain name server). In network DDNS, select DDNS type and highlight enable item. Then input your PPPoE name you get from you IPS and server IP (PC with DDNS). Click save button and then reboot system. Click save button, system prompts for rebooting to get all setup activated. After rebooting, open IE and input as below:

http：//(DDNS server IP)/(virtual directory name)/webtest.htm

e.g.: http：//10.6.2.85/DVR _DDNS/webtest.htm.)  Now you can open DDNSServer web search page.

Figure 4-67

Note NNDS type includes: CN99 DDNS, NO-IP DDNS, Dahua DDNS, Dyndns DDNS and sysdns DDNS. All the DDNS can be valid at the same time, you can select as you requirement.

Private DDNS function shall work with special DDNS server and special Professional Surveillance Software (PSS).

Dahua DDNS and Client-end Introduction

1) Background Introduction

Device IP is not fixed if you use ADSL to login the network. The DDNS function allows you to access the DVR via the registered domain name. Besides the general DDNS, the Dahua DDNS works with the device from the manufacturer so that it can add the extension function.

2) Function Introduction

The Dahua DDNS client has the same function as other DDNS client end. It realizes the bonding of the domain name and the IP address. Right now, current DDNS server is for our own devices only. You need to refresh the bonding relationship of the domain and the IP regularly. There is no user name, password or the ID registration on the server. At the same time, each device has a default domain name (Generated by MAC address) for your option. You can also use customized valid domain name (has not registered.).

3) Operation

Before you use Dahua DDNS, you need to enable this service and set proper server address, port value and domain name.

- Server address：www.dahuaddns.com

- Port number：80

- Domain name：There are two modes: Default domain name and customized domain name.

Except default domain name registration, you can also use customized domain name (You can input your self-defined domain name.)  After successful registration, you can use domain name to login installed of the device IP.

- User name: It is optional. You can input your commonly used email address.

Important

- Do not register frequently. The interval between two registrations shall be more than 60 seconds. Too many registration requests may result in server attack.

- System may take back the domain name that is idle for one year. You can get a notification email before the cancel operation if your email address setup is OK.

#### IP Filter

IP filter interface is shown as in Figure 4-68. You can add IP in the following list. The list supports max 64 IP addresses. System supports valid address of IPv4 and IPv6. Note system needs to check the validity of all IPv6 addresses and implement optimization.

After you enabled trusted sites function, only the IP listed below can access current DVR.

If you enable blocked sites function, the following listed IP addresses can not access current DVR.

- Enable: Highlight the box here, you can check the trusted site function and blocked sites function. You can not see these two modes if the Enable button is grey.

- Type: You can select trusted site and blacklist from the dropdown list. You can view the IP address on the following column.

- Start address/end address: Select one type from the dropdown list, you can input IP address in the start address and end address. Now you can click Add IP address or Add IP section to add.

- For the newly added IP address, it is in enable status by default. Remove the √ before the item, and then current item is not in the list.

- System max supports 64 items.

- Address column supports IPv4 or IPv6 format. If it is IPv6 address, system can optimize it. For example, system can optimize aa:0000: 00: 00aa: 00aa: 00aa: 00aa: 00aa as aa:: aa: aa: aa: aa: aa: aa.

- System automatically removes space if there is any space before or after the newly added IP address.

- System only checks start address if you add IP address. System check start address and end address if you add IP section and the end address shall be larger than the start address.

- System may check newly added IP address exists or not. System does not add if input IP address does not exist.

- Delete: Click it to remove specified item.

- Edit: Click it to edit start address and end address. See Figure 4-69. System can check the IP address validity after the edit operation and implement IPv6 optimization.

- Default: Click it to restore default setup. In this case, the trusted sites and blocked sites are both null.

Note:

- If you enabled trusted sites, only the IP in the trusted sites list can access the device.

- If you enabled blocked sites, the IP in the blocked sites can not access the device.

- System supports add MAC address.

Figure 4-68

Figure 4-69

#### Email

The email interface is shown as below. See Figure 4-70.

- SMTP server: Input your email SMTP server IP here.

- Port: Input corresponding port value here.

- User name:  Input the user name to login the sender email box.

- Password: Input the corresponding password here.

- Sender: Input sender email box here.

- Title: Input email subject here. System support English character and Arabic number. Max 32-digit.

- Receiver: Input receiver email address here. System max supports 3 email boxes. System automatically filters same addresses if you input one receiver repeatedly.

- SSL enable: System supports SSL encryption box.

- Interval: The send interval ranges from 0 to 3600 seconds. 0 means there is no interval.

- Health email enable: Check the box here to enable this function. This function allows the system to send out the test email to check the connection is OK or not.

- Interval: Check the above box to enable this function and then set the corresponding interval. System can send out the email regularly as you set here. Click the Test button, you can see the corresponding dialogue box to see the email connection is OK or not.

Note system will not send out the email immediately when the alarm occurs. When the alarm, motion detection or the abnormity event activates the email, system sends out the email according to the interval you specified here. This function is very useful when there are too many emails activated by the abnormity events, which may result in heavy load for the email server.

Figure 4-70

#### FTP

You need to download or buy FTP service tool (such as Ser-U FTP SERVER) to establish FTP service.

Install Ser-U FTP SERVER first. From “start” -> “program” -> Serv-U FTP Server -> Serv-U Administrator. Now you can set user password and FTP folder. Note you need to grant write right to FTP upload user. See Figure 4-71.

Figure 4-71

You can use a PC or FTP login tool to test setup is right or not. For example, you can login user ZHY to H140H140H140HTUFTP://10.10.7.7UTH   and then test it can modify or delete folder or not.  See Figure 4-72.

Figure 4-72

System also supports upload multiple DVRs to one FTP server. You can create multiple folders under this FTP.

FTP interface is shown as in Figure 4-73.

Highlight the icon  in front of Enable to activate FTP function.

Here you can input FTP server address, port and remote directory. When remote directory is null, system automatically create folders according to the IP, time and channel. User name and password is the account information for you to login the FTP. File length is upload file length. When setup is larger than the actual file length, system will upload the whole file. When setup here is smaller than the actual file length, system only uploads the set length and auto ignore the left section. When interval value is 0, system uploads all corresponding files.

After completed channel and weekday setup, you can set two periods for one each channel.

Click the Test button, you can see the corresponding dialogue box to see the FTP connection is OK or not.

Figure 4-73

#### UPnP

The UPNP protocol is to establish a mapping relationship between the LAN and the WAN. Input the router IP address in the LAN in Figure 4-62. See Figure 4-74.

- UPNP  on/off ：Turn on or off the UPNP function of the device.

- Status:  When the UPNP is offline, it shows as “Unknown”. When the UPNP works it shows “Success”

- Router LAN IP: It is the router IP in the LAN.

- WAN IP: It is the router IP in the WAN.

- Port Mapping list： The port mapping list here is the one to one relationship with the router’s port mapping setting.

- List：

  - Service name：Defined by user.

  - Protocol： Protocol type

  - Internal port：Port that has been mapped in the router.

  - External port：Port that has been mapped locally.

- Default: UPNP default port setting is the HTTP, TCP and UDP of the DVR.

- Add to the list: Click it to add the mapping relationship.

- Delete: Click it to remove one mapping item.

Double click one item; you can change the corresponding mapping information. See Figure 4-75.

Important:

When you are setting the router external port, use 1024~5000 port. Do not use well-known port 1~255 and the system port 256~1023 to avoid conflict.

For the TCP and UDP, make sure the internal port and external port are the same to guarantee the proper data transmission.

Figure 4-74

Figure 4-75

#### SNMP

SNMP is an abbreviation of Simple Network Management Protocol. It provides the basic network management frame of the network management system. The SNMP widely used in many environments. It is used in many network device, software and system.

You can set in the following interface. See Figure 4-76.

Figure 4-76

Enable the SNMP function. Use the corresponding software tool (MIB Builder and MG-SOFT MIB Browser. You still need two MIB file: BASE-SNMP-MIB, DVR-SNMP-MIB) to connect to the device. You can get the device corresponding configuration information after successfully connection.

Follow the steps listed below to configure.

- In Figure 4-76, check the box to enable the SNMP function. Input the IP address of the PC than is running the software in the Trap address. You can use default setup for the rest items.

- Compile the above mentioned two MIB file via the software MIB Builder.

- Run MG-SOFT MIB Browser to load the file from the previous step to the software.

- Input the device IP you want to manage in the MG-SOFT MIB Browser. Set the corresponding version for your future reference.

- Open the tree list on the MG-SOFT MIB Browser; you can get the device configuration. Here you can see the device has how many video channels, audio channels, application version and etc.

Note

Port conflict occurs when SNMP port and Trap port are the same.

#### Multicast

Multicast setup interface is shown as in Figure 4-77.

Figure 4-77

Here you can set a multiple cast group. Refer to the following sheet for detailed information.

- IP multiple cast group address

-224.0.0.0-239.255.255.255

-“D” address space

- The higher four-bit of the first byte=”1110”

- Reserved local multiple cast group address

-224.0.0.0-224.0.0.255

-TTL=1 When sending out telegraph

-For example

      - All systems in the sub-net

      - All routers in the sub-net

      - DVMRP router

      - OSPF router

224.0.0.13 PIMv2 router

- Administrative scoped addressees

-239.0.0.0-239.255.255.255

-Private address space

- Like the single broadcast address of RFC1918

- Can not be used in Internet transmission

- Used for multiple cast broadcast in limited space.

Except the above mentioned addresses of special meaning, you can use other addresses. For example:

Multiple cast IP: 235.8.8.36

Multiple cast PORT: 3666.

After you logged in the Web, the Web can automatically get multiple cast address and add it to the multiple cast groups. You can enable real-time monitor function to view the view.

Note multiple cast function applies to special series only.

#### Register

This function allows the device to auto register to the proxy you specified. In this way, you can use the client-end to access the DVR and etc via the proxy. Here the proxy has a switch function. In the network service, device supports the server address of IPv4 or domain.

Follow the steps listed below to use this function.

Set proxy server address, port, and sub-device name at the device-end. Enable the auto register function, the device can auto register to the proxy server.

1) The setup interface is shown as in Figure 4-78.

Important

Do not input network default port such as TCP port number.

Figure 4-78

2) The proxy server software developed from the SDK. Open the software and input the global setup. Make sure the auto connection port here is the same as the port you set in the previous step.

3) Now you can add device. Do not input default port number such as the TCP port in the mapping port number. The device ID here shall be the same with the ID you input in Figure 4-78. Click Add button to complete the setup.

4) Now you can boot up the proxy server. When you see the network status is Y, it means your registration is OK. You can view the proxy server when the device is online.

Important

The server IP address can also be domain. But you need to register a domain name before you run proxy device server.

#### Alarm Centre

This interface is reserved for you to develop. See Figure 4-79.

Figure 4-79

#### P2P

The P2P interface is shown as in Figure 4-80.

You can use you cell phone to scan the QR to add the device via the client on the cell phone. For detailed information, refer to the P2P operation manual included in the resources CD.

Figure 4-80

### Event

#### Detect

In the main menu, from Setting->Event->Detect, you can see motion detect interface. See Figure 4-81.There is three detection types: motion detection, video loss, tampering.

- The video loss has no detection region and sensitivity setup and tampering has no detection region setup.

- You can see motion detect icon if current channel has enabled motion detect alarm.

- You can drag you mouse to set motion detect region. Click OK button to save current region setup. Right click mouse to exit current interface.

- For digital channel, the detect function refers to support detection function of the front-end and support local activation function. The front-end can get enable/disable status, sensitivity and region setup. You can get corresponding prompt if front-end can not get the above information. You can change front-end setup if it can get.

##### Motion Detect

After analysis video, system can generate a video loss alarm when the detected moving signal reached the sensitivity you set here.

Detection menu is shown as below. See Figure 4-81.

- Event type: From the dropdown list you can select motion detection type.

- Channel: Select a channel from the dropdown list to set motion detect function.

- Enable: Check the box here to enable motion detect function.

- Region: Click select button, the interface is shown as in Figure 4-82. Here you can set motion detection zone. There are four zones for you to set. Select a zone first and then left drag the mouse to select a zone. The corresponding color zone displays different detection zone. You can click Fn button to switch between the arm mode and disarm mode. In arm mode, you can click the direction buttons to move the green rectangle to set the motion detection zone. After you completed the setup, click ENTER button to exit current setup. Do remember click save button to save current setup. If you click ESC button to exit the region setup interface system will not save your zone setup.

- Sensitivity: System supports 6 levels. The sixth level has the highest sensitivity.

- Anti-dither: Here you can set anti-dither time. The value ranges from 5 to 600s. The anti-dither time refers to the alarm signal lasts time. It can be seem as the alarm signal activation stays such as the buzzer, tour, PTZ activation, snapshot, channel record. The stay time here does not include the latch time. During the alarm process, the alarm signal can begin an anti-dither time if system detects the local alarm again. The screen prompt, alarm upload, email and etc will not be activated. For example, if you set the anti-dither time as 10 second, you can see the each activation may last 10s if the local alarm is activated. During the process, if system detects another local alarm signal at the fifth second, the buzzer, tour, PTZ　activation, snapshot, record channel will begin another 10s while the screen prompt, alarm upload, email will not be activated again. After 10s, if system detects another alarm signal, it can generate an alarm since the anti-dither time is out.

- Period: Click set button, you can see an interface is shown as in Figure 4-84. Here you can set motion detect period. System only enables motion detect operation in the specified periods. It is not for video loss or the tampering. There are two ways for you to set periods. Note system only supports 6 periods in one day.

- In Figure 4-84, Select icon   of several dates, all checked items can be edited together. Now the icon is shown as  . Click   to delete a record type from one period.

- In Figure 4-84. Click button   after one date or a holiday, you can see an interface shown as in Figure 4-85. There are four record types: regular, motion detection (MD), Alarm, MD & alarm.

- Alarm output: when an alarm occurs, system enables peripheral alarm devices.

- Latch: when motion detection complete, system auto delays detecting for a specified time. The value ranges from 1-300(Unit: second)

- Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when an alarm occurs.

- Record channel: System auto activates motion detection channel(s) to record once an alarm occurs. Make sure you have set MD record in Schedule interface(Main Menu->Setting->Schedule) and schedule record in manual record interface(Main Menu->Advanced->Manual Record)

- PTZ activation: Here you can set PTZ movement when an alarm occurs. Such as go to preset, tour & pattern when there is an alarm. Click “select” button, you can see an interface is shown as in Figure 4-83X.

- Record Delay: System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s.

- Tour: Here you can enable tour function when alarm occurs. System one-window tour.

- Snapshot: You can enable this function to snapshoot image when a motion detect alarm occurs.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when alarm occurs.

- Test: Click it to test current motion detect setup (do not need to save). Click Select button after Region, you can set motion detect area.

Highlight icon  to select the corresponding function. After all the setups click save button, system goes back to the previous menu.

Note:

In motion detection mode, you can not use copy/paste to set channel setup since the video in each channel may not be the same.

In Figure 4-82, you can left click mouse and then drag it to set a region for motion detection. Click Fn to switch between arm/withdraw motion detection. After setting, click enter button to exit.

Figure 4-81

Figure 4-82

Figure 4-83

Figure 4-84

Figure 4-85

Motion detect here only has relationship with the sensitivity and region setup. It has no relationship with other setups.

##### Video Loss

In Figure 4-81, select video loss from the type list. You can see the interface is shown as in Figure 4-86.This function allows you to be informed when video loss phenomenon occurred. You can enable alarm output channel and then enable show message function.

Tips:

You can enable preset/tour/pattern activation operation when video loss occurs.

Refer to chapter 4.10.3.1.1 motion detection for detailed information.

Figure 4-86

##### Tampering

When someone viciously masks the lens, or the output video is in one-color due to the environments light change, the system can alert you to guarantee video continuity. Tampering interface is shown as in Figure 4-87. You can enable “Alarm output “or “Show message” function when tampering alarm occurs.

- Sensitivity: The value ranges from 1 to 6. It mainly concerns the brightness. The level 6 has the higher sensitivity than level 1. The default setup is 3.

Tips:

You can enable preset/tour/pattern activation operation when video loss occurs.

Refer to chapter 4.10.3.1.1 motion detection for detailed information.

Note:

- In Detect interface, copy/paste function is only valid for the same type, which means you can not copy a channel setup in video loss mode to tampering mode.

- About Default function. Since detection channel and detection type may not be the same, system can only restore default setup of current detect type. For example, if you click Default button at the tampering interface, you can only restore default tampering setup. It is null for other detect types.

- System only enables tampering function during the period you set here. It is null for motion detect or video loss type.

Figure 4-87

#### Alarm

Before operation, make sure you have properly connected alarm devices such as buzzer.

In the main menu, from Setting->Event->Alarm, you can see alarm setup interface.

For analog channel, the interface is shown as in Figure 4-88 and Figure 4-89 .

For digital channel, there are four alarm types. See Figure 4-88 to Figure 4-91.

- Local alarm: The alarm signal system detects from the alarm input port.

- Network alarm: It is the alarm signal from the network.

- IPC external alarm: It is the on-off alarm signal from the front-end device and can activate the local HDVR.

- IPC offline alarm: Once you select this item, system can generate an alarm when the front-end IPC disconnects with the local HDVR. The alarm can activate record, PTZ, snap and etc. The alarm can last until the IPC and the HDVR connection resumes.

Important

    - If it is your first time to boot up the device, the disconnection status of the front-end network camera will not be regarded as offline. After one successfully connection, all the disconnection events will be regarded as IPC offline event.

    - When IPC offline alarm occurs, the record and snapshot function of digital channel is null.

- Alarm in: Here is for you to select channel number.

- Type: normal open or normal close.

- PTZ activation: Here you can set PTZ movement when alarm occurs. Such as go to preset, tour& pattern when there is an alarm. Click “select” button, you can see an interface is shown as in Figure 4-92.

- Period: Click set button, you can see an interface is shown as in Figure 4-93. There are two ways for you to set periods. There are max 6 periods in one day. There are four record types: regular, motion detection (MD), Alarm, MD & alarm.

  - In Figure 4-93, Select icon  of several dates, all checked items can be edited together. Now the icon is shown as. Click  to delete a record type from one period.

  - In Figure 4-93. Click button  after one date or a holiday, you can see an interface shown as in Figure 4-94. There are four record types: regular, motion detection (MD), Alarm, MD & alarm.

- Anti-dither: Here you can set anti-dither time. Here you can set anti-dither time. The value ranges from 5 to 600s. The anti-dither time refers to the alarm signal lasts time. It can be seem as the alarm signal activation stays such as the buzzer, tour, PTZ activation, snapshot, channel record. The stay time here does not include the latch time. During the alarm process, the alarm signal can begin an anti-dither time if system detects the local alarm again. The screen prompt, alarm upload, email and etc will not be activated. For example, if you set the anti-dither time as 10 second, you can see the each activation may last 10s if the local alarm is activated. During the process, if system detects another local alarm signal at the fifth second, the buzzer, tour, PTZ　activation, snapshot, record channel will begin another 10s while the screen prompt, alarm upload, email will not be activated again. After 10s, if system detects another alarm signal, it can generate an alarm since the anti-dither time is out.

- Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when alarm occurs.

- Record channel: you can select proper channel to record alarm video (Multiple choices). At the same time you need to set alarm record in schedule interface (Main Menu->Setting->Schedule) and select schedule record in manual record interface (Main Menu->Advance->Manual Record).

- Latch: Here is for you to set proper delay duration. Value ranges from 10 to 300 seconds. System automatically delays specified seconds in turning off alarm and activated output after external alarm cancelled.

- Tour: Here you can enable tour function when alarm occurs. System supports 1/8-window tour. Note the tour setup here has higher priority than the tour setup you set in the Display interface. Once there two tours are both enabled, system can enable the alarm tour as you set here when an alarm occurred. If there is no alarm, system implements the tour setup in the Display interface.

- Snapshot: System can snapshoot corresponding channel when an alarm occurs. Note the activation snapshot has the higher priority than schedule snapshot. If you have enabled these two types at the same time, system can activate the activation snapshot when alarm occurs, and otherwise system just operates the schedule snapshot.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when alarm occurs.

Note, network alarm means the alarm signal from the TCP/IP. You can use NET SDK to activate network alarm. Comparing with the local alarm, there is no type, anti-dither, alarm upload function.

Highlight icon  to select the corresponding function. After setting all the setups click save button, system goes back to the previous menu.

Figure 4-88

Figure 4-89

. Figure 4-90

Figure 4-91

Figure 4-92

Figure 4-93

Figure 4-94

#### Abnormality

There are two types: HDD/Network.

  - HDD: HDD error, no disk, no space. See Figure 4-95 and Figure 4-96.

  - Network: Disconnection, IP conflict, MAC conflict. See Figure 4-97.

- Alarm output: Select alarm activation output port (multiple choices).

- Less than: System can alarm you when the HDD space is less than the threshold you set here (For HDD no space type only).

- Latch: Here you can set corresponding delaying time. The value ranges from 1s-300s. System automatically delays specified seconds in turning off alarm and activated output after external alarm cancelled.

- Show message: system can pop up the message in the local screen to alert you when alarm occurs.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function. For disconnection event, IP conflict event and MAC conflict event, this function is null.

- Send email: System can send out email to alert you when alarm occurs.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.

Figure 4-95

Figure 4-96

Figure 4-97

#### Alarm Output

Here is for you to set proper alarm output such as schedule, manual.

Highlight icon  to select the corresponding alarm output.

After all the setups click OK button, system goes back to the previous menu. See Figure 4-98.

Figure 4-98

### Storage

It is to set HDD management, storage parameters, set record plan and record control.

#### Schedule

It is for you to set record plan and snapshot plan.

##### Record

Note: You need to have proper rights to implement the following operations. Make sure the HDDs have been properly installed.

After the system booted up, it is in default 24-hour regular mode. You can set record type and time in schedule interface.

In the main menu, from Setting->Storage->Schedule, you can go to schedule menu. See Figure 4-102.

Note you need to go to main menu->Setting->System->General->Holiday to set holiday date first, otherwise, there is no holiday setup item.

- Channel: Select the channel number first. You can select “all” if you want to set for the whole channels.

- : Sync connection icon. Select icon  of several dates, all checked items can be edited together. Now the icon is shown as  .

- : Click it to delete a record type from one period.

- Record Type: Check the box to select corresponding record type. There are four types: Regular/MD (motion detect)/Alarm/MD&Alarm.

- Week day: There are eight options: ranges from Saturday to Sunday and all.

- Holiday: It is to set holiday setup. Note you need to go to the General interface (Main Menu->System->General) to add holiday first. Otherwise you can not see this item.

- Pre-record: System can pre-record the video before the event occurs into the file. The value ranges from 1 to 30 seconds depending on the bit stream.

- Redundancy: System supports redundancy backup function.  You can highlight Redundancy button to activate this function. Note, before enable this function, set at least one HDD as redundant. (Main menu->Setting->Storage->HDD Manager). Note this function is null if there is only one HDD.

- Period setup: Click button  after one date or a holiday, you can see an interface shown as in Figure 4-103.There are four record types: regular, motion detection (MD), Alarm, MD & alarm.

Following the steps listed below to draw the period manually.

  - Select a channel you want to set. See Figure 4-99.

Figure 4-99

  - Set record type. See Figure 4-100.

Figure 4-100

  - Draw manually to set record period. There are six periods in one day. See Figure 4-101.

Figure 4-101

Highlight icon  to select the corresponding function. After completing all the setups click save button, system goes back to the previous menu. There are color bars for your reference. Green color stands for regular recording, yellow color stands for motion detection and red color stands for alarm recording. The white means the MD and alarm record is valid. Once you have set to record when the MD and alarm occurs, system will not record neither motion detect occurs nor the alarm occurs.

Figure 4-102

Figure 4-103

###### Quick Setup

Copy function allows you to copy one channel setup to another. After setting in channel 1, click Copy button, you can go to interface Figure 4-104. You can see current channel name is grey such as channel 1. Now you can select the channel you wan to paste such as channel 5/6/7. If you wan to save current setup of channel 1 to all channels, you can click the first box “ALL”. Click the OK button to save current copy setup. Click the OK button in the Encode interface, the copy function succeeded.

Figure 4-104

###### Redundancy

Current series product does not support redundancy function.

Redundancy function allows you to memorize record file in several disks. When there is file damage occurred in one disk, there is a spare one in the other disk. You can use this function to maintain data reliability and safety.

- In the main menu, from Setting->Storage-> Schedule, you can highlight redundancy button to enable this function.

- In the main menu, from Main menu->Setting->Storage->HDD Manager, you can set one or more disk(s) as redundant. You can select from the dropdown list. System auto overwrites old files once hard disk is full.

Note only read/write disk or read-only disk can backup file and support file search function, so you need to set at least one read-write disk otherwise you can not record video.

Note

About redundancy setup:

- If current channel is not recording, current setup gets activated when the channel begin recording the next time.

- If current channel is recording now, current setup will get activated right away, the current file will be packet and form a file, then system begins recording as you have just set.

After all the setups click save button, system goes back to the previous menu.

Playback or search in the redundant disk.

There are two ways for you to playback or search in the redundant disk.

- Set redundant disk(s) as read-only disk or read-write disk (Main menu->Setting->Storage->HDD Manager)). System needs to reboot to get setup activated. Now you can search or playback file in redundant disk.

- Dismantle the disk and play it in another PC.

##### Snapshot

###### Schedule Snapshot

- On the preview interface, right click mouse and then select Manual->Record, or in the main menu, from Setting->Storage->Record, check the box to enable snapshot function of corresponding channels. See Figure 4-105.

- In main menu, from Setting->Camera->Encode->Snapshot interface, here you can input snapshot mode as regular, size, quality and frequency. See Figure 4-106.

- In main menu, from Setting->Camera->Encode->Schedule interface, enable snapshot function. See Figure 4-107.

Refer to the following figures for detailed information.

Figure 4-105

Figure 4-106

Figure 4-107

###### Trigger Snapshot

Follow the steps listed below to enable the activation snapshot function. After you enabled this function, system can snapshot when the corresponding alarm occurred.

- In main menu, from Setting->Camera->Encode->Snapshot interface, here you can input snapshot mode as trigger, size, quality and frequency. See Figure 4-108.

- In main menu, from Setting->Event->Detect, enable snapshot function for specified channels (Figure 4-109).

Figure 4-108

Figure 4-109

###### Priority

Note the activation snapshot has the higher priority than schedule snapshot. If you have enabled these two types at the same time, system can activate the activation snapshot when alarm occurs, and otherwise system just operates the schedule snapshot.

###### Image FTP

In the main menu, from Setting->Network->FTP, you can set FTP server information. Enable FTP function and then click save button. See Figure 4-110.

Boot up corresponding FTP server.

Enable schedule snapshot (Chapter 4.10.4.1.2.1) or activation snapshot (Chapter 4.10.4.1.2.2) first, now system can upload the image file to the FTP server.

Figure 4-110

#### HDD Manager

Here is for you to view and implement hard disk management. See Figure 4-111.

You can see current HDD type, status, capacity and etc. The operation includes format HDD, and change HDD property (read and write/read-only/redundancy).

Figure 4-111

#### Record

##### Record Control

Caution:

You need to have proper rights to implement the following operations. Make sure the HDD has been properly installed.

There are three ways for you to go to manual record menu.

- Right click mouse and then select Manual->Record.

- In the main menu, from Setting->Storage->Record.

- In live viewing mode, click record button in the front panel or record button in the remote control.

System supports main stream and sub stream. There are three statuses: schedule/manual/stop. See Figure 4-112. Highlight icon“○” to select corresponding channel.

- Manual: The highest priority. After manual setup, all selected channels will begin ordinary recording.

- Schedule: Channel records as you have set in recording setup (Main Menu->Setting->System->>Schedule)

- Stop: Current channel stops recording.

- All: Check All button after the corresponding status to enable/disable all-channel schedule/manual record or enable/disable all channels to stop record.

Figure 4-112

##### Snapshot Operation

Check the corresponding box to enable/disable schedule snapshot function. See Figure 4-113.

Figure 4-113

Tips

You can check All button after the corresponding status to enable/disable all-channel snapshot function.

#### HDD Detect

The HDD detect function is to detect HDD current status so that you can clearly understand the HDD performance and replace the malfunction HDD.

There are two detect types:

- Quick detect is to detect via the universal system files. System can quickly complete the HDD scan. If you want to use this function, make sure the HDD is in use now. If the HDD is removed from other device, make sure the write-data once was full after it installed on current device.

- Global detect adopts Windows mode to scan. It may take a long time and may affect the HDD that is recording.

##### Manual Detect

The manual detect interface is shown as below. See Figure 4-114.

Select detect type and HDD. Click start detect to begin. You can view the corresponding detect information. See Figure 4-115.

Figure 4-114

Figure 4-115

##### Detect Report

After the detect operation, you can go to the detect report to view corresponding information.

The detect report interface is shown as below. See Figure 4-116.

Figure 4-116

Click the item you can see the detailed information such as detect result. See Figure 4-117.

Figure 4-117

### System

#### General

##### Device

General setting includes the following items. See Figure 4-118.

- Device ID: Input a corresponding device name here.

- Device No: Here you can set device number.

- Language: System supports various languages: Chinese (simplified), Chinese (Traditional), English, Italian, Japanese, French, Spanish (All languages listed here are optional. Slight difference maybe found in various series.)

- Video standard: There are two formats: NTSC and PAL.

- Vodeo mode: It is to set max decode mode of the analog signal. There are two options: 960H/D1. Note this item is only valid when all channels are analog modes only.

- HDD full: Here is for you to select working mode when hard disk is full. There are two options: stop recording or rewrite. If current working HDD is overwritten or the current HDD is full while the next HDD is no empty, then system stops recording, If the current HDD is full and then next HDD is not empty, then system overwrites the previous files.

- Pack duration: Here is for you to specify record duration. The value ranges from 1 to 120 minutes. Default value is 60 minutes.

- Real-time playback: It is to set playback time you can view in the preview interface. The value ranges from 5 to 60 minutes.

- Auto logout: Here is for you to set auto logout interval once login user remains inactive for a specified time. Value ranges from 0 to 60 minutes.

- Navigation bar: Check the box here, system displays the navigation bar on the interface.

- Startup wizard: Once you check the box here, system will go to the startup wizard directly when the system restarts the next time. Otherwise, it will go to the login interface.

- Mouse property: You can set double click speed via dragging the slide bard. You can Click Default button to restore default setup.

Figure 4-118

##### Date and Time

The interface is shown as in Figure 4-119.

- Date format: There are three types: YYYYY-MM-DD: MM-DD-YYYYY or DD-MM-YYYY.

- Date separator: There are three denotations to separate date: dot, beeline and solidus.

- DST: Here you can set DST time and date. Here you can set start time and end time by setting corresponding week setup or by setting corresponding date setup.

- NTP: It is to set NTP server information.

Figure 4-119

##### Holiday

Holiday setup interface is shown as in Figure 4-120. Click Add new holiday button, you can input new holiday information. See Figure 4-121. Here you can set holiday name, repeat mode and start/end time.

Note

- When you enable Holiday settings and schedule setup at the same time, holiday setting has the priority. If the selected day is a holiday, then system records as you set in holiday setting. If it is not a holiday, system records as you set in Schedule interface. Note

- Note, there is no year setup on the holiday setup. For example, if you set 30th Oct, 2012 as a holiday, then the date of 30th Oct in each year will be set as a holiday.

Figure 4-120

Figure 4-121

#### Display

It is to set display, TV adjust, tour, zero-channel encode, and preview favorites information.

##### Display

Display setup interface is shown as below. See Figure 4-122.

- Transparency: Here is for you to adjust transparency. The value ranges from 128 to 255.

- Channel name: Here is for you to modify channel name. System max support 25-digit (The value may vary due to different series). Note all your modification here only applies to DVR local end. You need to open web or client end to refresh channel name.

- Time display: You can select to display time or not when system is playback.

- Channel display: You can select to channel name or not when system is playback.

- Resolution: There are four options: 1920×1080, 1280×1024(default),1280×720,1024×768. Note the system needs to reboot to activate current setup.

- Image enhance: Check the box; you can optimize the margin of the preview video.

- Preview denoise: It is to reduce the video noise and make it clearer. You can set denoise level. The higher the level is, the clearer the video is.

Highlight icon  to select the corresponding function.

After completing all the setups click save button, system goes back to the previous menu.

Figure 4-122

##### Tour

Here you can activate tour function. Click Setup button, you can see an interface shown as in Figure 4-123

- Enable tour: Highlight box here to enable this function.

- Interval: System supports 1/8-window tour. Input proper interval value here. The value ranges from 5-120 seconds. It is for schedule tour/alarm/motion detect tour.

- Split: You can select window split mode from the dropdown list.

- Channel group: It is to display all channel groups on current split mode. You can edit and delete a channel group here. Double click an item in the list; you can edit its channel group setup. Right now system max supports 32.

- Add: Under specified window split mode, click it to add channel group.

- Delete: Click it to remove selected channel group.

- Move up: Click it to move current selected channel up.

- Move down: Click it to move current selected channel down.

- Default: Click it to restore default setup.

Tips:

- Use mouse or Shift button to switch  and  button to enable /disable tour.  means the tour funciton is enabled and  meas tour funciton is disabled.

- On the navigation bar, click  or  to enable/disable tour function.

Figure 4-123

##### Zero-channel Encoding

Click zero-channel encoding button, you can go to the following interface. See Figure 4-124.Here you can enable and set zero-channel encoding function so that you can view several video sources at one channel.

- Enable: This function is disabled by default. Check the box here to enable this function so that you can control the zero-channel encoding function at the WEB.

- Compression: System default setup is H.264. You can set according to device capability.

- Resolution: The resolution value may vary due to different device capabilities. Select from the dropdown list.

- Frame rate: The frame rate value may vary due to different device capabilities. Select from the dropdown list.

- Bit Rate: The bit rate value may vary due to different device capabilities and frame rate setups. Select from the dropdown list.

- Save: Click the Save button to save current setup. If this function is disabled, you can not operate zero-channel encoding function at the WEB, the video is black or null even you operate when the function is disabled. After you enabled this function, login the Web and you can select zero-channel encoding mode at the right corner of the interface. Select a mode; you can view the local preview video.

Figure 4-124

##### Favorites

It is for you to set and save favorites preview setup. You can select different window display modes and then select corresponding channel(s). Note for one mode, one channel can only be selected once. See Figure 4-125.

- Set channels: Click it you get channel setup information of current preview interface. For example. If you window split mode is 4 and channel setup includes channel 1/2/3/4, you can see 4 from the split dropdown list and then see channel 1/2/3/4 at the middle of the interface.

- Get channels: Click it to activate current setup. You can see current setup effect on the screen right now.

- Default: it is to restore factory default setup. For example, 1-window mode, it is to display channel 1 and 4-window mode, it is display channel 1/2/3/4.

- Save: Click it to save current setup to Favorites folder. Otherwise, you can not find current setup in the Favorites.

Figure 4-125

On the navigation bar, you can see the Favorites shortcut menu. You can select from the dropdown list. Click View 1, you can see the channel(s) you saved on the Favorites folder. See Figure 4-126.

Figure 4-126

#### PTZ

The pan/tilt/zoom setup includes the following items. Select channel first. See Figure 4-127.

- PTZ type: There are two options: local/remote. Select remote if you are connecting to the network PTZ. See Figure 4-128.

- Control mode: You can select control mode from the dropdown list. There are two options: Serial/HDCVI. For HDCVI series product, select HDCVI. The control signal is sent to the PTZ via the coaxial cable. For the serial mode, the control signal is sent to the PTZ via the RS485 port.

- Protocol: Select corresponding protocols such as PELCOD.

- Address: input corresponding PTZ address.

- Baud rate: Select baud rate. Data bit: Select data bit.

- Stop bit: Select stop bit. Parity: There are three choices: none/odd/even.

After completed all the setups click save button, system goes back to the previous menu.

Figure 4-127

Figure 4-128

#### ATM/POS

The ATM/POS function is for financial areas. It includes Sniffer, information analysis and title overlay function. The Sniffer mode is network.

The network type interface is shown as below. See Figure 4-129.

Here we take the ATM/POS protocol to continue.

There are two types: with or without the protocol according to client’s requirements.

With the protocol

For ATM/POS with the protocol, you just need to set the source IP, destination IP (sometimes you need to input corresponding port number).

Figure 4-129

Without the protocol

For the ATM/POS without the protocol, the interface is shown as in Figure 4-130. Source IP refers to host IP address that sends out information (usually it is the device host.)

Destination IP refers to other systems that receive information. Usually you do not need to set source port and target port. There are total four groups IP. The record channel applies to one group (optional) only. Six frame ID groups verification can guarantee information validity and legal.

Figure 4-130

#### Account

Here is for you to implement account management. See Figure 4-131 and Figure 4-132. Here you can:

- Add new user

- Modify user

- Add group

- Modify group

- Modify password.

For account management note:

- For the user account name and the user group, the string max length is 6-byte. The backspace in front of or at the back of the string is invalid. There can be backspace in the middle. The string includes the valid character, letter, number, underline, subtraction sign, and dot.

- The default user amount is 64 and the default group amount is 20. System account adopts two-level management: group and user. No limit to group or user amount.

- For group or user management, there are two levels: admin and user.

- The user name and group name can consist of eight bytes. One name can only be used once. There are four default users: admin/888888/666666 and hidden user “default”. Except user 6666, other users have administrator right.

- Hidden user “default” is for system interior use only and can not be deleted. When there is no login user, hidden user “default” automatically login. You can set some rights such as monitor for this user so that you can view some channel view without login.

- One user should belong to one group. User right can not exceed group right.

- About reusable function: this function allows multiple users use the same account to login.

- About user account and MAC. When you add a new user, you can input the MAC address of current user. Only the user of the same MAC address can access the device remotely.(MAC address is for the device of the same LAN.) If you leave MAC address item in blank when you add a new user, the user of any MAC address can access the device remotely. You can set or change MAC address when you add or modify a user.  The MAC address function is also valid for PSS login. Note current function does not support IPV6.

After all the setups click save button, system goes back to the previous menu.

Figure 4-131

Figure 4-132

##### Add/Modify Group

Click add group button in Figure 4-132 , the interface is shown as below. See Figure 4-133.

Here you can input group name and then input some memo information if necessary.

There are total 98 rights such as control panel, shut down, real-time monitor, playback, record, record file backup, PTZ, user account, system information view, alarm input/output setup, system setup, log view, clear log, upgrade system, control device and etc.

The modify group interface is similar to the Figure 4-133.

Figure 4-133

##### Add/Modify User

Click add user button in Figure 4-131 , the interface is shown as in Figure 4-134.

Input the user name, password; select the group it belongs to from the dropdown list.

Then you can check the corresponding rights for current user.

For convenient user management, usually we recommend the general user right is lower than the admin account.

The modify user interface is similar to Figure 4-134.

Figure 4-134

When you create a new user, you can input the corresponding MAC address of current user. If you leave this item in blank, any MAC address user can share this user account to login. Note system needs to check the validity of MAC. Only the 12-digit 0-f format address can pass the validity verification. System only saves small character even you input capitalized one. You can see the corresponding prompt if there is any illegal input.

#### Auto Maintain

Here you can set auto-reboot time and auto-delete old files setup. You can set to delete the files for the specified days. See Figure 4-135. You can select proper setup from dropdown list.

After all the setups click save button, system goes back to the previous menu.

Figure 4-135

#### Config Backup

The configuration file backup interface is shown as below. See Figure 4-136.

This function allows you to import/export system configuration.  You can use this function when there are several devices need the same setup.

- Export: Connect the peripheral device first and then go to the following interface.  Click Export button, you can see there is a corresponding “Config_Time” folder. Double click the folder, you can view some backup files.

- Import: Here you can import the configuration files from the peripheral device to current device. You need to select a folder first. You can see a dialogue box asking you to select a folder if you are selecting a file. System pops up a dialogue box if there is no configuration file under current folder. After successfully import, system needs to reboot to activate new setup.

- Format: Click Format button, system pops up a dialogue box for you to confirm current operation. System begins format process after you click the OK button.

Note:

- System can not open config backup interface again if there is backup operation in the process.

- System refreshes device when you go to the config backup every time and set current directory as the root directory of the peripheral device.

- If you go to the configuration backup interface first and then insert the peripheral device, click Refresh button to view the newly added device.

Figure 4-136

#### Default

Click default icon, system pops up a dialogue box. You can highlight  to restore default factory setup. See Figure 4-137.

- Camera

- Network

- Event

- Storage

- System

Highlight icon  to select the corresponding function.

After all the setups click save button, system goes back to the previous menu.

Warning!

System menu color, language, time display mode, video format, IP address, user account will not maintain previous setup after default operation!

Figure 4-137

#### Update

Here is for you to view hardware features, software version, built date, release SN information and etc. You can also update system here. See Figure 4-138.

- Start: Insert the USB device that have the update file to the device and then click the Start button to begin the update.

Important: Make sure the upgrade file name shall be update.bin.

Figure 4-138

# WEB OPERATION

Slightly difference may be found in the interface due to different series.

## Network Connection

Before web client operation, check the following items:

- Network connection is right

- DVR and PC network setup is right. Refer to network setup(main menu->Setting->Network)

- Use order ping ***.***.***.***(* DVR IP address) to check connection is OK or not. Usually the return TTL value should be less than 255.

- Current series product supports various browsers such as Safari, fire fox browser, Google browser. Device supports multiple-channel monitor, PTZ control, DVR parameter setup on the Apple PC.

## Login

Open IE and input DVR address in the address column. For example, if your DVR IP is 10.10.3.16, then input http:// 10.10.3.16 in IE address column.

System pops up warning information to ask you whether install control or not. Click Install button. See Figure 5-1.

Figure 5-1

After installation, the interface is shown as below. See Figure 5-2.

Input your user name and password.

Default factory name is admin and password is admin.

Note: For security reasons, modify your password after you first login.

Figure 5-2

## LAN Mode

For the LAN mode, after you logged in, you can see the main window. See Figure 5-3.

Figure 5-3

This main window can be divided into the following sections.

- Section 1: there are six function buttons: Live（chapter 5.4）, playback (chapter 5.9) setup (chapter 5.8), info (chapter 5.8.6), alarm (chapter 5.10), and logout (chapter 0).

- Section 2: There are channel number and one button: Start all. Start all button is to enable/disable all-channel real-time monitor. Click it the button becomes yellow. See Figure 5-4.

Figure 5-4

Refer to  Figure 5-5 for main stream and extra stream switch information.

Figure 5-5

- Section 3: Start dialogue button.

You can click this button to enable audio talk. Click 【▼】 to select bidirectional talk mode. There are four options: DEFAULT，G711a，G711u and PCM. After you enable the bidirectional talk, the Start talk button becomes End Talk button and it becomes yellow. See Figure 5-6.

Note, if audio input port from the device to the client-end is using the first channel audio input port. During the bidirectional talk process, system will not encode the audio data from the 1-channel.

Figure 5-6

- Section 4: Instant record button. Click it, the button becomes yellow and system begins manual record. See Figure 5-7. Click it again, system restores previous record mode.

Figure 5-7

- Section 5: Local play button.

The Web can playback the saved (Extension name is dav) files in the PC-end.

Click local play button, system pops up the following interface for you to select local play file. See Figure 5-8.

Figure 5-8

- Section 6: From the left to the right ,you can see video quality/fluency/ full screen/1-window/4-window/6-window/8-window/9-window/13-window/16-window/20-window/25-window/36-window.. You can set video fluency and real-time feature priority.

- Section 7: PTZ operation panel. Refer to chapter 5.5 for detailed information.

- Section 8: Image setup and alarm setup. Refer to chapter 5.6 for detailed information.

- Section 9：From left to right, it is to set video quality, video latency, full screen, 1-window, 4-window.

- Section 10：Zero-channel encoding. This function allows you to view several-channel in one window. It supports 1/4-channel mode. Go to chapter 4.10.5.2.3 to enable zero-channel encoding function first.

## Live

In section 2, left click the channel name you want to view, you can see the corresponding video in current window.

On the top left corner, you can view device IP (10.15.6.144), channel number (1), network monitor bit stream (61Kbps) and stream type: M (Main stream)/S (Sub stream). See Figure 5-9.

Figure 5-9

On the top right corer, there are six unction buttons. See Figure 5-10.

Figure 5-10

- 1: Digital zoom: Click this button and then left drag the mouse in the zone to zoom in. right click mouse system restores original status.

- 2: Local record. When you click local record button, the system begins recording and this button becomes highlighted. You can go to system folder RecordDownload to view the recorded file.

- 3: Snapshot picture. You can snapshoot important video. All images are memorized in system client folder PictureDownload (default).

- 4: Audio :Turn on or off audio.(It has no relationship with system audio setup )

- 5: Close video.

## PTZ

Before PTZ operation, make sure you have properly set PTZ protocol. (Refer to chapter 0).

There are eight direction keys. In the middle of the eight direction keys, there is a 3D intelligent positioning key. Click 3D intelligent positioning key, system goes back to the single screen mode. Drag the mouse in the screen to adjust section size. It can realize PTZ automatically.

Refer to the following sheet for PTZ setup information.

| Parameter | Function |
| --- | --- |
| Scan | Select Scan from the dropdown list. Click Set button, you can set scan left and right limit. Use direction buttons to move the camera to you desired location and then click left limit button. Then move the camera again and then click right limit button to set a right limit. |
| Preset | Select Preset from the dropdown list. Turn the camera to the corresponding position and Input the preset value. Click Add button to add a preset. |
| Tour | Select Tour from the dropdown list. Input preset value in the column. Click Add preset button, you have added one preset in the tour. Repeat the above procedures you can add more presets in one tour. Or you can click delete preset button to remove one preset from the tour. |
| Pattern | Select Pattern from the dropdown list. You can input pattern value and then click Start button to begin PTZ movement such as zoom, focus, iris, direction and etc. Then you can click Add button to set one pattern. |
| Aux | Input the corresponding aux value here. You can select one option and then click AUX on or AUX off button. |
| Light and wiper | You can turn on or turn off the light/wiper. |

Figure 5-11

## Image

Select one monitor channel video and then click Image button in section 8, the interface is shown as

Figure 5-12.

### Image

Here you can adjust its brightness, contrast, hue and saturation. (Current channel border becomes green). Or you can click Reset button to restore system default setup.

Figure 5-12

## WAN Login

In WAN mode, after you logged in, the interface is shown as below. See Figure 5-13.

Figure 5-13

Refer to the following contents for LAN and WAN login difference.

1) In the WAN mode, system opens the main stream of the first channel to monitor by default. The open/close button on the left pane is null.

2) You can select different channels and different monitor modes at the bottom of the interface. See Figure 5-14.

Figure 5-14

Important

The window display mode and the channel number are by default. For example, for the 16-channel, the max window split mode is 16.

3) Multiple-channel monitor, system adopts extra stream to monitor by default. Double click one channel, system switches to single channel and system uses main stream to monitor. You can view there are two icons at the left top corner of the channel number for you reference. M stands for main stream. S stands for sub stream (extra stream).

4) If you login via the WAN mode, system does not support alarm activation to open the video function in the Alarm setup interface.

Important

- For multiple-channel monitor mode, system adopts extra stream to monitor by default. You can not modify manually. All channels are trying to synchronize. Note the synchronization effect still depends on your network environments.

- For bandwidth consideration, system can not support monitor and playback at the same time. System auto closes monitor or playback interface when you are searching setup in the configuration interface. It is to enhance search speed.

## Setup

### Camera

#### Remote Device

Remote device interface is shown as below. See Figure 5-15.

Figure 5-15

Figure 5-16

Refer to the following sheet for log parameter information.

| Parameter | Function |
| --- | --- |
| Device search | Click Device search button, you can view the searched device information on the list. It includes device IP address, port, device name, manufacturer and type. |
| Add | Select a device in the list and then click Add button, system can connect the device automatically and add it to the Added device list. Or you can double click one item in the list to add a device. |
| Modify | Click or any device in the Added device list, you can change the corresponding channel setup. |
| Delete | Click, you can delete the remote connection of the corresponding channel. |
| Connection status | : Connection succeeded. : Connection failed. |
| Delete | Select a device in the Added device list and then click Delete button, system can disconnect the device and remove it from the Added device list. |
| Manual Add | Click it, the interface is shown as in Figure 5-16. Here you can add network camera manually. You can select a channel from the dropdown list (Here only shows disconnection channel.) Note: System supports manufactures such as Panasonic, Sony, Dynacolor, Samsung, AXIS, Arecont, Dahua and Onvif standard protocol. If you do not input IP address here. System uses default IP 192.168.0.0 and system does not connect to this IP. Can not add two devices at the same time. Click OK button here, system only connect to the corresponding device of current channel. |

#### Conditions

Here you can view device property information. The setups become valid immediately after you set. See Figure 5-17 (analog channel) and Figure 5-18 (digital channel).

Figure 5-17

Figure 5-18

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Channel | Select a channel from the dropdown list. |
| Period | It divides one day (24 hours) to two periods. You can set different hue, brightness, and contrast for different periods. |
| Hue | It is to adjust monitor video brightness and darkness level. The default value is 50. The bigger the value is, the large the contrast between the bright and dark section is and vice versa. |
| Brightness | It is to adjust monitor window brightness. The default value is 50. The larger the number is , the bright the video is. When you input the value here, the bright section and the dark section of the video will be adjusted accordingly. You can use this function when the whole video is too dark or too bright. Note the video may become hazy if the value is too high. The value ranges from 0 to 100.The recommended value ranges from 40 to 60. |
| Contrast | It is to adjust monitor window contrast. The value ranges from 0 to 100. The default value is 50. The larger the number is, the higher the contrast is. You can use this function when the whole video bright is OK but the contrast is not proper. Note the video may become hazy if the value is too low. If this value is too high, the dark section may lack brightness while the bright section may over exposure .The recommended value ranges from 40 to 60. |
| Saturation | It is to adjust monitor window saturation. The value ranges from 0 to 100. The default value is 50. The larger the number is, the strong the color is. This value has no effect on the general brightness of the whole video. The video color may become too strong if the value is too high. For the grey part of the video, the distortion may occur if the white balance is not accurate. Note the video may not be attractive if the value is too low. The recommended value ranges from 40 to 60. |
| Gain | The gain adjust is to set the gain value. The smaller the value is, the low the noise is. But the brightness is also too low in the dark environments. It can enhance the video brightness if the value is high. But the video noise may become too clear. |
| White level | It is to enhance video effect. |
| Color mode | It includes several modes such as standard, color. You can select corresponding color mode here, you can see hue, brightness, and contrast and etc will adjust accordingly. |
| Auto Iris | It is to enable/disable auto iris function. |
| Flip | It is to switch video up and bottom limit. This function is disabled by default. |
| Mirror | It is to switch video left and right limit. This function is disabled by default. |
| BLC Mode | BLC | The device auto exposures according to the environments situation so that the darkest area of the video is cleared |
|  | WDR | For the WDR scene, this function can lower the high bright section and enhance the brightness of the low bright section. So that you can view these two sections clearly at the same time. The value ranges from 1 to 100. When you switch the camera from no-WDR mode to the WDR mode, system may lose several seconds record video. |
|  | HLC | After you enabled HLC function, the device can lower the brightness of the brightest section according to the HLC control level. It can reduce the area of the halo and lower the brightness of the whole video. |
|  | Off | It is to disable the BLC function. Note this function is disabled by default. |
| Profile | It is to set the white balance mode. It has effect on the general hue of the video. This function is on by default. You can select the different scene mode such as auto, sunny, cloudy, home, office, night, disable and etc to adjust the video to the best quality. Auto: The auto white balance is on. System can auto compensate the color temperature to make sure the vide color is proper. Sunny: The threshold of the white balance is in the sunny mode. Night: The threshold of the white balance is in the night mode. Customized: You can set the gain of the red/blue channel. The value reneges from 0 to 100. |
| Day/Night | It is to set device color and the B/W mode switch. The default setup is auto. Color: Device outputs the color video. Auto: Device auto select to output the color or the B/W video according to the device feature (The general bright of the video or there is IR light or not.) B/W: The device outputs the black and white video. Sensor: It is to set when there is peripheral connected IR light. |

#### Encode

##### Encode

The encode interface is shown as below. See Figure 5-19.

Figure 5-19

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Channel | Select a channel from the dropdown list. |
| Video enable | Check the box here to enable extra stream video. This item is enabled by default. |
| Code stream type | It includes main stream, motion stream and alarm stream. You can select different encode frame rates form different recorded events. System supports active control frame function (ACF). It allows you to record in different frame rates. For example, you can use high frame rate to record important events, record scheduled event in lower frame rate and it allows you to set different frame rates for motion detection record and alarm record. |

| Compression | The main bit stream supports H.264. The extra stream supports H.264, MJPG. |
| --- | --- |
| Resolution | System supports various resolutions, you can select from the dropdown list. The main stream supports 1080P/720P/960H/D1/HD1/2CIF/CIF/QCIF; the extra stream supports CIF/QCIF. Note the option may vary due to different series. |
| Frame Rate | PAL：1～25f/s；NTSC：1～30f/s. |
| Bit Rate | Main stream: You can set bit rate here to change video quality. The large the bit rate is , the better the quality is. Refer to recommend bit rate for the detailed information. Extra stream: In CBR, the bit rate here is the max value. In dynamic video, system needs to low frame rate or video quality to guarantee the value. The value is null in VBR mode. |
| Reference bit rate | Recommended bit rate value according to the resolution and frame rate you have set. |

| I Frame | Here you can set the P frame amount between two I frames. The value ranges from 1 to 150. Default value is 50. Recommended value is frame rate *2. |
| --- | --- |
| Audio source | Select from the dropdown list. There are two options: Normal/HDCVI. In the normal mode, the audio signal comes from the Audio In. In the HDCVI mode, the audio signal comes from the coaxial cable of the camera. |
| Watermark enable | This function allows you to verify the video is tampered or not. Here you can select watermark bit stream, watermark mode and watermark character. Default character is DigitalCCTV. The max length is 85-digit. The character can only include number, character and underline. |

##### Snapshot

The snapshot interface is shown as in Figure 5-20.

Figure 5-20

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Snapshot type | There are two modes: Regular (schedule) and Trigger. Regular snapshot is valid during the specified period you set. Trigger snapshot only is valid when motion detect alarm, tampering alarm or local activation alarm occurs. |
| Image size | It is the same with the resolution of the main stream. |
| Quality | It is to set the image quality. There are six levels. |
| Interval | It is to set snapshot frequency. The value ranges from 1s to 7s. Or you can set customized value. The max setup is 3600s/picture. |
| Copy | Click it; you can copy current channel setup to other channel(s). |

##### Video Overlay

The video overlay interface is shown as in Figure 5-21.

Figure 5-21

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Cover-area | Check Preview or Monitor first. Click Set button, you can privacy mask the specified video in the preview or monitor video. System max supports 4 privacy mask zones. |
| Time Title | You can enable this function so that system overlays time information in video window. You can use the mouse to drag the time title position. You can view time title on the live video of the WEB or the playback video. |
| Channel Title | You can enable this function so that system overlays channel information in video window. You can use the mouse to drag the channel title position. You can view channel title on the live video of the WEB or the playback video. |

##### Path

The storage path interface is shown as in Figure 5-22.

Here you can set snap image saved path ( in the preview interface) and the record storage path ( in the preview interface).The default setup is C:\PictureDownload and C:\RecordDownload.

Click the Save button to save current setup.

Figure 5-22

#### Channel Name

Here you can set channel name. See Figure 5-23.

Figure 5-23

### Network

#### TCP/IP

The TCP/IP interface is shown as in Figure 5-24.

Figure 5-24

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Mode | There are two modes: static mode and the DHCP mode. The IP/submask/gateway are null when you select the DHCP mode to auto search the IP. If you select the static mode, you need to set the IP/submask/gateway manually. If you select the DHCP mode, you can view the IP/submask/gateway from the DHCP. If you switch from the DHCP mode to the static mode, you need to reset the IP parameters. Besides, IP/submask/gateway and DHCP are read-only when the PPPoE dial is OK. |
| Mac Address | It is to display host Mac address. |
| IP Version | It is to select IP version. IPV4 or IPV6. You can access the IP address of these two versions. |
| IP Address | Use the keyboard to input the corresponding number to modify the IP address and then set the corresponding subnet mask and the default gateway. |
| Preferred DNS | DNS IP address. |
| Alternate DNS | Alternate DNS IP address. |
| For the IP address of IPv6 version, default gateway, preferred DNS and alternate DNS, the input value shall be 128-digit. It shall not be left in blank. |
| LAN load | System can process the downloaded data first if you enable this function. The download speed is 1.5X or 2.0X of the normal speed. |

#### P2P

The P2P interface is shown as in Figure 5-25.

You can scan the QR code to login the dveice in the WAN. Refer to P2P operation manual included in the resources CD for detailed information.

Figure 5-25

#### Connection

The connection interface is shown as in Figure 5-26.

Figure 5-26

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Max connection | It is the max Web connection for the same device. The value ranges from 1 to 120. The default setup is 120. |
| TCP port | The default value is 37777. You can input the actual port number if necessary. |
| UDP port | The default value is 37778. You can input the actual port number if necessary. |
| HTTP port | The default value is 80. You can input the actual port number if necessary. |
| HTTPS | The default value is 443. You can input the actual port number if necessary. |
| RTSP port | The default value is 554. |

#### WIFI

Note this function is for the device of WIFI module.

The WIFI interface is shown as in Figure 5-27.

Figure 5-27

Check the box to enable WIFI function and then click the Search SSID button. Now you can view all the wireless network information in the following list. Double click a name to connect to it. Click Refresh button, you can view latest connection status.

#### 3G

##### CDMA/GPRS

The CDMA/GPRS interface is shown as in Figure 5-28.

Figure 5-28

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| WLAN type | Here you can select 3G network type to distinguish the 3G module from different ISP. The types include WCDMA，CDMA1x and etc. |
| APN/Dial No. | Here is the important parameter of PPP. |
| Authorization | It includes PAP,CHAP,NO_AUTH. |
| Pulse interval | It is to set time to end 3G connection after you close extra stream monitor. For example, if you input 60 here, system ends 3G connection after you close extra stream monitor 60 seconds. |
| Important If the pulse interval is 0, then system does not end 3G connection after you close the extra stream monitor. Pulse interval here is for extra stream only. This item is null if you are using main stream to monitor. |

##### Mobile

The mobile setup interface is shown as in Figure 5-29.

Here you can activate (send out “on”) or turn off (Send out “off”) the 3G connected phone or mobile phone, or the phone you set to get alarm message.

Check send SMS box and then input the phone number in the receiver column. Click  to add one receiver. Repeat the above steps you can add more phones. Select a phone number and then click , you can delete it. Click OK button to complete the setup.

Figure 5-29

#### PPPoE

The PPPoE interface is shown as in Figure 5-30.

Input the PPPoE user name and password you get from the IPS (internet service provider) and enable PPPoE function. Save current setup and then reboot the device to get the setup activated.

Device connects to the internet via PPPoE after reboot. You can get the IP address in the WAN from the IP address column.

Note, you need to use previous IP address in the LAN to login the device. Go to the IP address item to via the device current device information. You can access the client-end via this new address.

Figure 5-30

#### DDNS

The DDNS interface is shown as in Figure 5-31.

The DDNS is to set to connect the various servers so that you can access the system via the server. Go to the corresponding service website to apply a domain name and then access the system via the domain. It works even your IP address has changed.

Select DDNS from the dropdown list (Multiple choices). Before you use this function, make sure your purchased device support current function.

Figure 5-31

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Server Type | You can select DDNS protocol from the dropdown list and then enable DDNS function. |
| Server IP | DDNS server IP address |
| Server Port | DDNS server port. |
| Domain Name | Your self-defined domain name. |
| User | The user name you input to log in the server. |
| Password | The password you input to log in the server. |
| Update period | Device sends out alive signal to the server regularly. You can set interval value between the device and DDNS server here. |

Dahua DDNS and Client-end Introduction

1) Background Introduction

Device IP is not fixed if you use ADSL to login the network. The DDNS function allows you to access the DVR via the registered domain name. Besides the general DDNS, the Dahua DDNS works with the device from the manufacturer so that it can add the extension function.

2) Function Introduction

The Dahua DDNS client has the same function as other DDNS client end. It realizes the bonding of the domain name and the IP address. Right now, current DDNS server is for our own devices only. You need to refresh the bonding relationship of the domain and the IP regularly. There is no user name, password or the ID registration on the server. At the same time, each device has a default domain name (Generated by MAC address) for your option. You can also use customized valid domain name (has not registered.).

3) Operation

Before you use Dahua DDNS, you need to enable this service and set proper server address, port value and domain name.

- Server address：www.dahuaddns.com

- Port number：80

- Domain name：There are two modes: Default domain name and customized domain name.

Except default domain name registration, you can also use customized domain name (You can input your self-defined domain name.)  After successful registration, you can use domain name to login installed of the device IP.

- User name: It is optional. You can input your commonly used email address.

Important

- Do not register frequently. The interval between two registrations shall be more than 60 seconds. Too many registration requests may result in server attack.

- System may take back the domain name that is idle for one year. You can get a notification email before the cancel operation if your email address setup is OK.

#### IP filter

The IP filter interface is shown as in Figure 5-32.

After you enabled trusted sites function, only the IP listed below can access current DVR.

If you enable blocked sites function, the following listed IP addresses can not access current DVR.

Figure 5-32

#### Email

The email interface is shown as in Figure 5-33.

Figure 5-33

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Enable | Check the box here to enable email function. |
| SMTP Server | Input server address and then enable this function. |
| Port | Default value is 25. You can modify it if necessary. |
| Anonymity | For the server supports the anonymity function. You can auto login anonymously. You do not need to input the user name. Password and the sender information. |
| User Name | The user name of the sender email account. |
| Password | The password of sender email account. |
| Sender | Sender email address. |
| Authentication (Encryption mode) | You can select SSL or none. |
| Subject | Input email subject here. |
| Attachment | System can send out the email of the snapshot picture once you check the box here. |
| Receiver | Input receiver email address here. Max three addresses. It supports SSL, TLS email box. |
| Interval | The send interval ranges from 0 to 3600 seconds. 0 means there is no interval. Note system will not send out the email immediately when the alarm occurs. When the alarm, motion detection or the abnormity event activates the email, system sends out the email according to the interval you specified here. This function is very useful when there are too many emails activated by the abnormity events, which may result in heavy load for the email server. |
| Health mail enable | Check the box here to enable this function. |
| Update period (interval) | This function allows the system to send out the test email to check the connection is OK or not. Check the box to enable this function and then set the corresponding interval. System can send out the email regularly as you set here. |
| Email test | The system will automatically sent out a email once to test the connection is OK or not .Before the email test, save the email setup information. |

#### FTP

The FTP interface is shown as in Figure 5-34.

It is to set FTP IP, port and etc for remote storage.

Refer to chapter 4.10.2.9 for detailed information.

Figure 5-34

#### UPnP

It allows you to establish the mapping relationship between the LAN and the public network.

Here you can also add, modify or remove UPnP item. See Figure 5-35.

- In the Windows OS, From Start->Control Panel->Add or remove programs. Click the “Add/Remove Windows Components” and then select the “Network Services” from the Windows Components Wizard.

- Click the Details button and then check the “Internet Gateway Device Discovery and Control client” and “UPnP User Interface”. Click OK to begin installation.

- Enable UPnP from the Web. If your UPnP is enabled in the Windows OS, the DVR can auto detect it via the “My Network Places”

Figure 5-35

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| PAT | Check the corresponding box to enable PAT function. |
| Status | Dsiplay UPnP function status. |
| Port mappling list | It is corresponding to the UPnP mapping information on the router. Check the box before the service name to enable current PAT service. Otherwise, the service is null. Service name：Custmozied name. Prptocol：Protocol type. Internal port：The port maped to the port. External port：The port current device needs to map. Device has three mapping items: HTTP/TCP/UDP. Note When you set the external port (outport) of the router, the value ranges from 1024 to 5000. Do not use port 1～255 or system port 256～1023, in case there is conflict. |
| Add | Click Add button to add map relationship. Note: For the data transmission protocol TCP/UDP, the external port and the internal port shall be the same to guarantee proper data transmission. |
| Delete | Select ona service and then click to delete map relationship. |

#### SNMP

The SNMP interface is shown as in Figure 5-36.

The SNMP allows the communication between the network management work station software and the proxy of the managed device. It is reserved for the 3rd party to develop.

Figure 5-36

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| SNMP Port | The listening port of the proxy program of the device. It is a UDP port not a TCP port. The value ranges from 1 to 65535. The default value is 161 |
| Read Community | It is a string. It is a command between the manage process and the proxy process. It defined the authentication, access control and the management relationship between one proxy and one group of the managers. Make sure the device and the proxy are the same. The read community will read all the objects the SNMP supported in the specified name. The default setup is public. |
| Write Community | It is a string. It is a command between the manage process and the proxy process. It defined the authentication, access control and the management relationship between one proxy and one group of the managers. Make sure the device and the proxy are the same. The read community will read/write/access all the objects the SNMP supported in the specified name. The default setup is write. |
| Trap address | The destination address of the Trap information from the proxy program of the device. |
| Trap port | The destination port of the Trap information from the proxy program of the device. It is for the gateway device and the client-end PC in the LAN to exchange the information. It is a non-protocol connection port. It has no effect on the network applications. It is a UDP port not TCP port. The value ranges from 1 to 165535. The default value is 162. |
| SNMP version | Check V1, system only processes the information of V1. Check V2, system only processes the information of V2. |

#### Multicast

The multicast interface is shown as in Figure 5-37.

Multicast is a transmission mode of data packet. When there is multiple-host to receive the same data packet, multiple-cast is the best option to reduce the broad width and the CPU load.  The source host can just send out one data to transit. This function also depends on the relationship of the group member and group of the outer.

Figure 5-37

#### Auto Register

The auto register interface is shown as below. See Figure 5-38.

This function allows the device to auto register to the proxy you specified. In this way, you can use the client-end to access the DVR and etc via the proxy. Here the proxy has a switch function. In the network service, device supports the server address of IPv4 or domain.

Follow the steps listed below to use this function.

Set proxy server address, port, and sub-device name at the device-end. Enable the auto register function, the device can auto register to the proxy server.

#### Figure 5-38

#### Alarm Centre

The alarm centre interface is shown as below. See Figure 5-39.

This interface is reserved for you to develop. System can upload alarm signal to the alarm centre when local alarm occurs.

Before you use alarm centre, set server IP, port and etc. When an alarm occurs, system can send out data as the protocol defined, so the client-end can get the data.

Figure 5-39

#### HTTPS

In this interface, you can set to make sure the PC can successfully login via the HTTPS. It is to guarantee communication data security. The reliable and stable technology can secure the user information security and device safety. See Figure 5-40.

Note

- You need to implement server certificate again if you have changed device IP.

- You need to download root certificate if it is your first time to use HTTPS on current PC.

Figure 5-40

##### Create Server Certificate

If it is your first time to use this function, follow the steps listed below.

In Figure 5-40, click button, input country name, state name and etc. Click Create button. See Figure 5-41.

Note

Make sure the IP or domain information is the same as your device IP or domain name.

Figure 5-41

You can see the corresponding prompt. See Figure 5-42. Now the server certificate is successfully created.

Figure 5-42

##### Download root certificate

In Figure 5-40, click  button, system pops up a dialogue box. See Figure 5-43.

Figure 5-43

Click Open button, you can go to the following interface. See Figure 5-44.

Figure 5-44

Click Install certificate button, you can go to certificate wizard. See Figure 5-45.

Figure 5-45

Click Next button to continue. Now you can select a location for the certificate. See Figure 5-46.

Figure 5-46

Click Next button, you can see the certificate import process is complete. See Figure 5-47.

Figure 5-47

Click Finish button, you can see system pops up a security warning dialogue box.  See Figure 5-48.

Figure 5-48

Click Yes button, system pops up the following dialogue box, you can see the certificate download is complete. See Figure 5-49.

Figure 5-49

##### View and set HTTPS port

From Setup->Network->Connection, you can see the following interface. See Figure 5-50.

You can see HTTPS default value is 443.

Figure 5-50

##### Login

Open the browser and then input https://xx.xx.xx.xx:port.

xx.xx.xx.xx: is your device IP or domain mane.

Port is your HTTPS port. If you are using default HTTPS value 443, you do not need to add port information here. You can input https://xx.xx.xx.xx to access.

Now you can see the login interface if your setup is right.

### Event

#### Video detect

##### Motion Detect

The motion detect interface is shown as in Figure 5-51.

Figure 5-51

Figure 5-52

Figure 5-53

Figure 5-54

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Enable | You need to check the box to enable motion detection function. Select a channel from the dropdown list. |
| Period | Motion detection function becomes activated in the specified periods. See Figure 5-52. There are six periods in one day. Draw a circle to enable corresponding period. Click OK button, system goes back to motion detection interface, click save button to exit. |
| Anti-dither | System only memorizes one event during the anti-dither period. The value ranges from 5s to 600s. |
| Sensitivity | There are six levels. The sixth level has the highest sensitivity. |
| Region | If you select motion detection type, you can click this button to set motion detection zone. The interface is shown as in Figure 5-53. Here you can set motion detection zone. There are four zones for you to set. Select a zone first and then left drag the mouse to select a zone. The corresponding color zone displays different detection zone. You can click Fn button to switch between the arm mode and disarm mode. In arm mode, you can click the direction buttons to move the green rectangle to set the motion detection zone. After you completed the setup, click ENTER button to exit current setup. Do remember click save button to save current setup. If you click ESC button to exit the region setup interface system will not save your zone setup. |
| Record channel | System auto activates motion detection channel(s) to record once an alarm occurs. Note you need to set motion detect record period and go to Storage-> Schedule to set current channel as schedule record. |
| Record Delay | System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s. |
| Alarm out | Enable alarm activation function. You need to select alarm output port so that system can activate corresponding alarm device when an alarm occurs. |
| Latch | System can delay the alarm output for specified time after an alarm ended. The value ranges from 1s to 300s. |
| Show message | System can pop up a message to alarm you in the local host screen if you enabled this function. |
| Buzzer | Check the box here to enable this function. The buzzer beeps when an alarm occurs. |

| Alarm upload | System can upload the alarm signal to the centre (Including alarm centre. |
| --- | --- |
| Message | When 3G network connection is OK, system can send out a message when motion detect occurs. |
| Send Email | If you enabled this function, System can send out an email to alert you when an alarm occurs. |

| Tour | You need to check the box here to enable this function. System begins 1-wiindow or multiple-window tour display among the channel(s) you set to record when an alarm occurs. |
| --- | --- |
| PTZ Activation | Here you can set PTZ movement when alarm occurs. Such as go to preset X. See Figure 5-54. |

##### Video Loss

The video loss interface is shown as in Figure 5-55.

After analysis video, system can generate a video loss alarm when the detected moving signal reached the sensitivity you set here.

Note video loss does not support anti-dither, sensitivity, region setup. For rest setups, refer to chapter

5.8.3.1.1 motion detect for detailed information.

Figure 5-55

##### Tampering

The tampering interface is shown as in Figure 5-56.

After analysis video, system can generate a tampering alarm when the detected moving signal reached the sensitivity you set here.

For detailed setups, refer to chapter 5.8.3.1.1 motion detect for detailed information.

Figure 5-56

#### Alarm

Before operation, make sure you have properly connected alarm devices such as buzzer. The input mode includes local alarm and network alarm.

##### Local Alarm

The local alarm interface is shown as in Figure 5-57. It refers to alarm from the local device.

Figure 5-57

Figure 5-58

Figure 5-59

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Enable | You need to check the box to enable this function. Select a channel from the dropdown list. |
| Period | This function becomes activated in the specified periods. There are six periods in one day. Draw a circle to enable corresponding period. Select date. If you do not select, current setup applies to today only. You can select all week column to apply to the whole week. Click OK button, system goes back to local alarm interface, click save button to exit. |
| Anti-dither | System only memorizes one event during the anti-dither period. The value ranges from 5s to 600s. |
| Sensor type | There are two options: NO/NC. |
| Record channel | System auto activates motion detection channel(s) to record once an alarm occurs. Note you need to set alarm record period and go to Storage-> Schedule to set current channel as schedule record. |
| Record Delay | System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s. |
| Alarm out | Enable alarm activation function. You need to select alarm output port so that system can activate corresponding alarm device when an alarm occurs. |
| Latch | System can delay the alarm output for specified time after an alarm ended. The value ranges from 1s to 300s. |
| Show message | System can pop up a message to alarm you in the local host screen if you enabled this function. |
| Buzzer | Check the box here to enable this function. The buzzer beeps when an alarm occurs. |
| Alarm upload | System can upload the alarm signal to the centre (Including alarm centre). |
| Send Email | If you enabled this function, System can send out an email to alert you when an alarm occurs. |
| Tour | You need to check the box here to enable this function. System begins 1-wiindow or multiple-window tour display among the channel(s) you set to record when an alarm occurs. |
| PTZ Activation | Here you can set PTZ movement when alarm occurs. Such as go to preset X. |

##### Net Alarm

The network alarm interface is shown as in Figure 5-60.

Network alarm refers to the alarm signal from the network. System does not anti-dither and sensor type setup. For setup information, refer to chapter 5.8.3.2.1.

Figure 5-60

#### Abnormality

It includes two types: No disk, disk error, disk no space, net disconnection, IP conflict and MAC conflict. See Figure 5-61 and Figure 5-62.

Figure 5-61

Figure 5-62

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Event Type | The abnormal events include: No disk, disk error, disk no space, net disconnection, IP conflict and MAC conflict. You can set one or more items here. Less than: You can set the minimum percentage value here (For disk not space only). The device can alarm when capacity is not sufficient. You need to draw a circle to enable this function. |
| Enable | Check the box here to enable selected function. |
| Alarm Out | Select corresponding alarm output channel when an alarm occurs. You need to check the box to enable this function. |
| Latch | The alarm output can delay for the specified time after an alarm stops. The value ranges from 1s to 300s. |
| Show message | System can pop up a message to alarm you in the local host screen if you enabled this function. |
| Alarm upload | System can upload the alarm signal to the centre (Including alarm centre. |
| Send Email | If you enabled this function, System can send out an email to alert you when an alarm occurs. |
| Buzzer | Check the box here to enable this function. The buzzer beeps when an alarm occurs. |

### Storage

#### Schedule

In this interfaces, you can add or remove the schedule record/snapshot setup. See Figure 5-63.

There are three record modes: general (auto), motion detect and alarm. There are six periods in one day.

You can view the current time period setup from the color bar.

- Green color stands for the general record/snapshot.

- Yellow color stands for the motion detect record/snapshot..

- Red color stands for the alarm record/snapshot.

- Blue color stands for MD&alarm record/snapshot.

Figure 5-63

Figure 5-64

Figure 5-65

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Channel | Select a channel from the dropdown list. |
| Pre-record | Input pre-record time here. The value ranges from 0 to 30. |
| Redundancy | Check the box here to enable redundancy function. Note this function is null if there is only one HDD. |
| Snapshot | Check the box here to enable snapshot function. |
| Holiday | Check the box here to enable holiday function. |
| Setup (Sunday to Saturday) | Click the Setup button, you can set record period. See Figure 5-64. There are six periods in one day. If you do not check the date at the bottom of the interface, current setup is for today only. Click Save button and then exit. |
| Setup (Holiday) | Click the Setup button, you can set record period. See Figure 5-64. There are six periods in one day. If you check Holiday box, current channel shall record as your holiday setup here. |
| Copy | Copy function allows you to copy one channel setup to another. After setting in channel, click Copy button, you can go to interface Figure 5-65. You can see current channel name is grey such as channel 1. Now you can select the channel you wan to paste such as channel 5/6/7. If you wan to save current setup of channel 1 to all channels, you can click the first box “ALL”. Click the OK button to save current copy setup. Click the OK button in the Encode interface, the copy function succeeded. |

#### Local Storage

The local interface is shown as in Figure 5-66. Here you can see HDD information. You can also operate the read-only, read-write, redundancy (if there are more than on HDD) and format operation.

Figure 5-66

#### Record

The interface is shown as in Figure 5-67.

Figure 5-67

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Channel | Here you can view channel number. The number displayed here is the max channel amount of your device. |
| Status | There are three statuses: schedule, manual and stop. |
| Schedule | System enables auto record function as you set in record schedule setup (general, motion detect and alarm). |

| Manual | It has the highest priority. Enable corresponding channel to record no matter what period applied in the record setup. |
| --- | --- |
| Stop | Stop current channel record no matter what period applied in the record setup. |
| Start all/ stop all | Check the corresponding All button, you can enable or disable all channels record. |

### Setting

#### General

The general interface includes general, date/time and holiday setup.

##### General

The general interface is shown as in Figure 5-68.

Figure 5-68

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Device ID | It is to set device name. |
| Device No. | It is device channel number. |
| Language | You can select the language from the dropdown list. Note the device needs to reboot to get the modification activated. |
| Video Standard | This is to display video standard such as PAL. |
| HDD full | Here is for you to select working mode when hard disk is full. There are two options: stop recording or rewrite. If current working HDD is overwritten or the current HDD is full while the next HDD is no empty, then system stops recording, If the current HDD is full and then next HDD is not empty, then system overwrites the previous files. |
| Pack duration | Here is for you to specify record duration. The value ranges from 1 to 120 minutes. Default value is 60 minutes. |

##### Date and time

The date and time interface is shown as in Figure 5-69

Figure 5-69

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Date format | Here you can select date format from the dropdown list. |
| Time Format | There are two options: 24-H and 12-H. |
| Time zone | The time zone of the device. |
| System time | It is to set system time. It becomes valid after you set. |
| Sync PC | You can click this button to save the system time as your PC current time. |
| DST | Here you can set day night save time begin time and end time. You can set according to the date format or according to the week format. |
| NTP | You can check the box to enable NTP function. |
| NTP server | You can set the time server address. |
| Port | It is to set the time server port. |
| Interval | It is to set the sync periods between the device and the time server. |

##### Holiday Setup

Holiday setup interface is shown as in Figure 5-70.

Here you can click Add box to add a new holiday and then click Save button to save.

Figure 5-70

#### Display

Display interface includes GUI, TV adjust, Tour and zero-channel encoding.

##### Display

Here you can set background color and transparency level. See Figure 5-71.

Figure 5-71

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Resolution | There are four options: 1920×1080,1280×1024(default),1280×720,1024×768. Note the system needs to reboot to activate current setup. |
| Transparency | Here is for you to adjust transparency. The value ranges from 128 to 255. |
| Time title/channel title | Check the box here, you can view system time and channel number on the monitor video. |
| Image enhance | Check the box; you can optimize the margin of the preview video. |

##### Tour

The tour interface is shown as in Figure 5-72. Here you can set tour interval, split mode, motion detect tour and alarm tour mode.

Figure 5-72

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Enable tour | Check the box here to enable tour function. |
| Interval | Here is for you to adjust transparency. The value ranges from 5 to 120s. The default setup is 5s. |
| Split | Here you can set window mode and channel group. System can support 1/4/8-window according to device channel amount. |
| Motion tour/Alarm tour | Here you can set motion detect tour/alarm tour window mode. System supports 1/8-window now. |

##### Zero Channel

The zero-channel interface is shown as in Figure 5-73. Here you can enable zero-channel function and set corresponding information.

Figure 5-73

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Enable | Check the box here to enable zero-channel function. |
| Compression | System supports H.264. |
| Resolution | Select from the dropdown list. System supports D1/CIF/QCIF and etc. |
| Frame rate | Select from the dropdown list. The value ranges from 1-25(PAL) or 1-30(NTSC). |
| Bit rate | Select from the dropdown list. |

#### PTZ

The PTZ interface is shown as in Figure 5-74.

Before setup, Check the following connections are right:

- PTZ and decoder connection is right. Decoder address setup is right.

- Decoder A (B) line connects with DVR A (B) line.

Click Save button after you complete setup, you can go back to the monitor interface to control speed dome.

Figure 5-74

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Channel | Select speed dome connected channel. |
| PTZ type | There are two options: local/remote. |
| Control mode | You can select control mode from the dropdown list. There are two options: Serial/HDCVI. For HDCVI series product, select HDCVI. The control signal is sent to the PTZ via the coaxial cable. For the serial mode, the control signal is sent to the PTZ via the RS485 port. |
| Protocol | Select corresponding protocol from the dropdown list. |
| Address | Set corresponding dome address. Default value is 1. Note your setup here shall comply with your dome address; otherwise you can not control the speed dome. |
| Baud Rate | Select the dome baud rate. Default setup is 9600. |
| Data Bit | Default setup is 8. set according to the speed dome dial switch setup. |
| Stop bit | Default setup is 1. Set according to the speed dome dial switch setup. |
| Parity | Default setup is none. Set according to the speed dome dial switch setup. |

#### ATM/POS

The ATM/POS function is for financial areas. It includes Sniffer, information analysis and title overlay function. The Sniffer mode is network.

The network type interface is shown as below. See Figure 5-75.

Here we take the ATM/POS protocol to continue.

There are two types: with or without the protocol according to client’s requirements.

With the protocol

For ATM/POS with the protocol, you just need to set the source IP, destination IP (sometimes you need to input corresponding port number).

Figure 5-75

Without the protocol

For the ATM/POS without the protocol, the interface is shown as in Figure 5-76.

Source IP refers to host IP address that sends out information (usually it is the device host.)

Destination IP refers to other systems that receive information.

Usually you do not need to set source port and target port.

There are total four groups IP. The record channel applies to one group (optional) only.

Six frame ID groups verification can guarantee information validity and legal.

Figure 5-76

#### Account

Note:

- For the character in the following user name or the user group name, system max supports 6-digits. The space in the front or at the end of the string is null. The valid string includes: character, number, and underline.

- The user amount default setup is 64 and the group amount default setup is 20. The factory default setup includes two levels: user and admin. You can set the corresponding group and then set the rights for the respective user in the specified groups.

- User management adopts group/user modes. The user name and the group name shall be unique. One user shall be included in only one group.

##### User name

In this interface you can add/remove user and modify user name. See Figure 5-77.

Figure 5-77

Add user: It is to add a name to group and set the user rights. See Figure 5-78.

There are four default users: admin/888888/666666 and hidden user “default”. Except user 6666, other users have administrator right. The user 666666 can only have the monitor rights,.

Hidden user “default” is for system interior use only and can not be deleted. When there is no login user, hidden user “default” automatically login. You can set some rights such as monitor for this user so that you can view some channel view without login.

Here you can input the user name and password and then select one group for current user.

Note the user rights shall not exceed the group right setup.

For convenient setup, make sure the general user has the lower rights setup than the admin.

Figure 5-78

Modify user

It is to modify the user property, belonging group, password and rights. See Figure 5-79.

Modify password

It is to modify the user password. You need to input the old password and then input the new password twice to confirm the new setup. Click the OK button to save.

Note, the password ranges from 1-digit to 6-digit. It shall include the number only. For the user of the account rights, he can modify the password of other users.

Figure 5-79

##### Group

The group management interface can add/remove group, modify group password and etc.

The interface is shown as in Figure 5-80.

Figure 5-80

Add group: It is to add group and set its corresponding rights. See Figure 5-81.

Input the group name and then check the box to select the corresponding rights. It includes: shutdown/reboot device, live view, record control, PTZ control and etc.

Figure 5-81

Modify group

Click the modify group button, you can see an interface is shown as in Figure 5-82.

Here you can modify group information such as remarks and rights.

Figure 5-82

#### Auto maintain

The auto maintain interface is shown as in Figure 5-83.

Here you can select auto reboot and auto delete old files interval from the dropdown list.

If you want to use the auto delete old files function, you need to set the file period.

Click Manual reboot button, you can restart device manually.

Figure 5-83

#### Import/Export

The interface is shown as in Figure 5-84.

Figure 5-84

Refer to the following sheet for detailed information.

| Parameter | Function |
| --- | --- |
| Import | It is to import the local setup files to the system. |
| Export | It is to export the corresponding WEB setup to your local PC. |

#### Default

The default setup interface is shown as in Figure 5-85.

Here you can select Channel/Network/Event/Storage/System. Or you can check the All box to select all items.

Figure 5-85

#### Upgrade

The upgrade interface is shown as in Figure 5-86.

Select the upgrade file and then click the update button to begin update. Note the file name shall be as *.bin. During the upgrade process, do not unplug the power cable, network cable, or shutdown the device.

Important

Improper upgrade program may result in device malfunction!

Figure 5-86

### Info

### Version

The version interface is shown as in Figure 5-87.

Here you can view record channel, alarm input/output information, software version, release date and etc. Note the following information is for reference only.

Figure 5-87

### Log

Here you can view system log. See Figure 5-88.

Figure 5-88

Refer to the following sheet for log parameter information.

| Parameter | Function |
| --- | --- |
| Type | Log types include: system operation, configuration operation, data operation, event operation, record operation, user management, log clear. |
| Start time | Set the start time of the requested log. |
| End time | Set the end time of the requested log. |
| Search | You can select log type from the drop down list and then click search button to view the list. You can click the stop button to terminate current search operation. |
| Detailed information | You can select one item to view the detailed information. |
| Clear | You can click this button to delete all displayed log files. Note system does not support clear by type. |
| Backup | You can click this button to backup log files to current PC. |

### Online User

The online user interface is shown as in Figure 5-89.

Figure 5-89

## Playback

Click Playback button, you can see an interface is shown as in Figure 5-90.

Figure 5-90

### Search Record

Set record type, record date, window display mode and channel name.

- Select Date

You can click the date on the right pane to select the date. The green highlighted date is system current date and the blue highlighted date means it has record files.

- Window Split

Select window split mode. Click  to display in full screen. Click ESC button to exit. See Figure 5-91.

Figure 5-91

- Select Channel

1～4  means main stream and A1～A4 means sub stream.

- Select Record Type

Check the corresponding box to select record type. See Figure 5-92.

Figure 5-92

### File List

Click File list button, you can see the corresponding files in the list. See Figure 5-93.

Figure 5-93

### Playback

Select a file you want to play and then click Play button, system can begin playback. You can select to playback in full-screen. Note for one channel, system can not playback and download at the same time. You can use the playback control bar to implement various operations such as play, pause, stop, slow play, fast play and etc. See Figure 5-94.

Figure 5-94

### Download

Select the file(s) you want to download and then click download button, you can see an interface shown as in Figure 5-95. The Download button becomes Stop button and there is a process bar for your reference. Go to you default file saved path to view the files.

Figure 5-95

### Load more

It is for you to search record or picture. You can select record channel, record type and record time to download. Or you can use watermark function to verify file.

#### Download By File

Select channel, record type, bit stream type and then input start time and end time. Click Search button, the download by file interface is shown as in Figure 5-96.

Figure 5-96

Check the file(s) you want to download and there are two options for you to save the file(s).

- Download to local

Click Download to local, system pops up the following interface for you to set record format and saved path.See Figure 5-97.

Figure 5-97

You can click OK to download and view the download process. After the download operation, you can see corresponding dialog box.

- Download to USB

Connect the corresponding p peripheral device, and then click Download to USB button, you can see the following interface. See Figure 5-98.

Figure 5-98

Select Backup device and backup type first and then click Start backup button.

After the download operation, you can see corresponding dialogue box.

#### Download by Time

Select channel, bit stream type, start time and end time.

Click Download to Local button, you can see download by time interface is shown as in Figure 5-99.

Figure 5-99

Set record format and saved path, you can click OK to download and view the download process. After the download operation, you can see corresponding dialog box.

#### Watermark

Watermark interface is shown as In Figure 5-100. Select a file and then click Verify button to see the file has been tampered with or not

Figure 5-100

## Alarm

Click alarm function, you can see an interface is shown as Figure 5-101.

Here you can set device alarm type and alarm sound setup (Make sure you have enabled audio function of corresponding alarm events.).

Figure 5-101

Refer to the following sheet for detailed information.

| Type | Parameter | Function |
| --- | --- | --- |
| Alarm Type | Video loss | System alarms when video loss occurs. |
|  | Motion detection | System alarms when motion detection alarm occurs. |
|  | Tampering | System alarms when camera is viciously masking. |
|  | Disk full | System alarms when disk is full. |
|  | Disk error | System alarms when disk error occurs. |
|  | External alarm | Alarm input device sends out alarm. |
| Operation | Prompt | Check the box here, system can automatically pops up an alarm icon on the Alarm button in the main interface when there is an alarm. |
| Alarm Sound | Play alarm sound | System sends out alarm sound when an alarm occurs. You can specify as you wish. |
|  | Sound path | Here you can specify alarm sound file. |

## Log out

Click log out button, system goes back to log in interface. See Figure 5-102.

You need to input user name and password to login again.

Figure 5-102

## Un-install Web Control

You can use web un-install tool “uninstall web.bat” to un-install web control.

Note, before you un-installation, close all web pages, otherwise the un-installation might result in error.

# Professional Surveillance System

Besides Web, you can use our Smart PSS to login the device.

For detailed information, refer to Smart PSS user’s manual.

# FAQ

- DVR can not boot up properly.

There are following possibilities:

  - Input power is not correct.

  - Power connection is not correct.

  - Power switch button is damaged.

  - Program upgrade is wrong.

  - HDD malfunction or something wrong with HDD ribbon.

  - Seagate DB35.1，DB35.2，SV35 or Maxtor 17-g has compatibility problem. Upgrade to the latest version to solve this problem.

  - Front panel error.

  - Main board is damaged.

- DVR often automatically shuts down or stops running.

There are following possibilities:

  - Input voltage is not stable or it is too low.

  - HDD malfunction or something wrong wit the ribbon.

  - Button power is not enough.

  - Front video signal is not stable.

  - Working environment is too harsh, too much dust.

  - Hardware malfunction.

- System can not detect hard disk.

There are following possibilities:

  - HDD is broken.

  - HDD ribbon is damaged.

  - HDD cable connection is loose.

  - Main board SATA port is broken.

4. There is no video output whether it is one-channel, multiple-channel or all-channel output.

There are following possibilities:

  - Program is not compatible. Upgrade to the latest version.

  - Brightness is 0. Restore factory default setup.

  - There is no video input signal or it is too weak.

  - Check privacy mask setup or your screen saver.

  - DVR hardware malfunctions.

5. Real-time video color is distorted.

There are following possibilities:

  - When using BNC output, NTSC and PAL setup is not correct. The real-time video becomes black and white.

  - DVR and monitor resistance is not compatible.

  - Video transmission is too long or degrading is too huge.

  - DVR color or brightness setup is not correct.

6. Can not search local records.

There are following possibilities:

  - HDD ribbon is damaged.

  - HDD is broken.

  - Upgraded program is not compatible.

  - The recorded file has been overwritten.

  - Record function has been disabled.

7. Video is distorted when searching local records.

There are following possibilities:

  - Video quality setup is too low.

  - Program read error, bit data is too small. There is mosaic in the full screen. Restart the DVR to solve this problem.

  - HDD data ribbon error.

  - HDD malfunction.

  - DVR hardware malfunctions.

8. There is no audio when monitor.

There are following possibilities:

  - It is not a power picker.

  - It is not a power acoustics.

  - Audio cable is damaged.

  - DVR hardware malfunctions.

9. There is audio when monitor but there is no audio when system playback.

There are following possibilities:

  - Setup is not correct. Enable audio function

  - Corresponding channel has no video input. Playback is not continuous when the screen is blue.

10. Time display is not correct.

There are following possibilities:

  - Setup is not correct

  - Battery contact is not correct or voltage is too low.

  - Crystal is broken.

11. DVR can not control PTZ.

There are following possibilities:

  - Front panel PTZ error

  - PTZ decoder setup, connection or installation is not correct.

  - Cable connection is not correct.

  - PTZ setup is not correct.

  - PTZ decoder and DVR protocol is not compatible.

  - PTZ decoder and DVR address is not compatible.

  - When there are several decoders, add 120 Ohm between the PTZ decoder A/B cables furthest end to delete the reverberation or impedance matching. Otherwise the PTZ control is not stable.

  - The distance is too far.

12. Motion detection function does not work.

There are following possibilities:

  - Period setup is not correct.

  - Motion detection zone setup is not correct.

  - Sensitivity is too low.

  - For some versions, there is hardware limit.

13. Can not log in client-end or web.

There are following possibilities:

  - For Windows 98 or Windows ME user, update your system to Windows 2000 sp4. Or you can install client-end software of lower version. Note right now, our DVR is not compatible with Windows VISTA control.

  - ActiveX control has been disabled.

  - No dx8.1 or higher. Upgrade display card driver.

  - Network connection error.

  - Network setup error.

  - Password or user name is invalid.

  - Client-end is not compatible with DVR program.

14. There is only mosaic no video when preview or playback video file remotely.

There are following possibilities:

  - Network fluency is not good.

  - Client-end resources are limit.

  - There is multiple-cast group setup in DVR. This mode can result in mosaic. Usually we do not recommend this mode.

  - There is privacy mask or channel protection setup.

  - Current user has no right to monitor.

  - DVR local video output quality is not good.

15. Network connection is not stable.

There are following possibilities:

  - Network is not stable.

  - IP address conflict.

  - MAC address conflict.

  - PC or DVR network card is not good.

16. Burn error /USB back error.

There are following possibilities:

  - Burner and DVR are in the same data cable.

  - System uses too much CPU resources. Stop record first and then begin backup.

  - Data amount exceeds backup device capacity. It may result in burner error.

  - Backup device is not compatible.

  - Backup device is damaged.

17. Keyboard can not control DVR.

There are following possibilities:

  - DVR serial port setup is not correct

  - Address is not correct

  - When there are several switchers, power supply is not enough.

  - Transmission distance is too far.

18. Alarm signal can not been disarmed.

There are following possibilities:

  - Alarm setup is not correct.

  - Alarm output has been open manually.

  - Input device error or connection is not correct.

  - Some program versions may have this problem. Upgrade your system.

19. Alarm function is null.

There are following possibilities:

  - Alarm setup is not correct.

  - Alarm cable connection is not correct.

  - Alarm input signal is not correct.

  - There are two loops connect to one alarm device.

21. Record storage period is not enough.

There are following possibilities:

  - Camera quality is too low. Lens is dirty. Camera is installed against the light. Camera aperture setup is not correct.

  - HDD capacity is not enough.

  - HDD is damaged.

22. Can not playback the downloaded file.

There are following possibilities:

  - There is no media player.

  - No DXB8.1 or higher graphic acceleration software.

  - There is no DivX503Bundle.exe control when you play the file transformed to AVI via media player.

  - No DivX503Bundle.exe or ffdshow-2004 1012 .exe in Windows XP OS.

23. Forgot local menu operation password or network password

Contact your local service engineer or our sales person for help. We can guide you to solve this problem.

24. When I login via HTTPS, a dialogue says the certificate for this website is for other address.

Follow chapter 5.8.2.16.1 to create server certificate.

25. When I login via HTTPS, a dialogue says the certificate is not trusted.

Follow chapter 5.8.2.16.2 to download root certificate.

26. When I login via HTTPS, a dialogue says the certificate has expired or is not valid yet.

Make sure your PC time is the same as the device time.

Daily Maintenance

- Use the brush to clean the board, socket connector and the chassis regularly.

- The device shall be soundly earthed in case there is audio/video disturbance. Keep the device away from the static voltage or induced voltage.

- Unplug the power cable before you remove the audio/video signal cable, RS232 or RS485 cable.

- Do not connect the TV to the local video output port (VOUT).It may result in video output circuit.

- Always shut down the device properly. Use the shutdown function in the menu, or you can press the power button in the rear pane for at least three seconds to shut down the device. Otherwise it may result in HDD malfunction.

- Make sure the device is away from the direct sunlight or other heating sources. Keep the sound ventilation.

- Check and maintain the device regularly.

This product includes software developed by third parties, including software which is released under the GNU General Public License Version 2 (GPL v2). This program is free software; you can redistribute it and/or modify it under the terms of the GNU General Public License as published by the Free Software Foundation; either version 2 of the License, or (at your option) any later version. You may obtain a complete machine-readable copy of the source code for the above mentioned software under the terms of GPL v2 without charge except for the cost of media, shipping, and handling, upon written request to Technaxx GmbH & Co. KG, Kruppstraße 105, 60388 Frankfurt am Main, Germany.

This program is distributed in the hope that it will be useful, but WITHOUT ANY WARRANTY; without even the implied warranty of MERCHANTABILITY or FITNESS FOR A PARTICULAR PURPOSE. See the GNU General Public License for more details. You should have received a copy of the GNU General Public License along with this program; if not, write to the Free Software Foundation, Inc., 51 Franklin Street, Fifth Floor, Boston, MA  02110-1301, USA. (Notice from Technaxx: A copy of the GPL is included below).

### GNU GENERAL PUBLIC LICENSE: Version 2, June 1991 / Copyright (C) 1989, 1991 Free Software Foundation, Inc.  / 51 Franklin Street, Fifth Floor, Boston, MA  02110-1301, USA. Everyone is permitted to copy and distribute verbatim copies of this license document, but changing it is not allowed.

### Preamble

The licenses for most software are designed to take away your freedom to share and change it. By contrast, the GNU General Public License is intended to guarantee your freedom to share and change free software--to make sure the software is free for all its users. This General Public License applies to most of the Free Software Foundation's software and to any other program whose authors commit to using it. (Some other Free Software Foundation software is covered by the GNU Lesser General Public License instead.) You can apply it to your programs, too.

When we speak of free software, we are referring to freedom, not price. Our General Public Licenses are designed to make sure that you have the freedom to distribute copies of free software (and charge for this service if you wish), that you receive source code or can get it if you want it, that you can change the software or use pieces of it in new free programs; and that you know you can do these things.

To protect your rights, we need to make restrictions that forbid anyone to deny you these rights or to ask you to surrender the rights. These restrictions translate to certain responsibilities for you if you distribute copies of the software, or if you modify it.

For example, if you distribute copies of such a program, whether gratis or for a fee, you must give the recipients all the rights that you have. You must make sure that they, too, receive or can get the source code. And you must show them these terms so they know their rights.

We protect your rights with two steps: (1) copyright the software, and (2) offer you this license which gives you legal permission to copy, distribute and/or modify the software.

Also, for each author's protection and ours, we want to make certain that everyone understands that there is no warranty for this free software. If the software is modified by someone else and passed on, we want its recipients to know that what they have is not the original, so that any problems introduced by others will not reflect on the original authors' reputations.

Any free program is threatened constantly by software patents. We wish to avoid the danger that redistributors of a free program will individually obtain patent licenses, in effect making the program proprietary. To prevent this, we have made it clear that any patent must be licensed for everyone's free use or not licensed at all.

The precise terms and conditions for copying, distribution and modification follow.

### TERMS AND CONDITIONS FOR COPYING, DISTRIBUTION AND MODIFICATION

0. This License applies to any program or other work which contains a notice placed by the copyright holder saying it may be distributed under the terms of this General Public License. The "Program", below, refers to any such program or work, and a "work based on the Program" means either the Program or any derivative work under copyright law: that is to say, a work containing the Program or a portion of it, either verbatim or with modifications and/or translated into another language. (Hereinafter, translation is included without limitation in the term "modification".) Each licensee is addressed as "you".

Activities other than copying, distribution and modification are not covered by this License; they are outside its scope. The act of running the Program is not restricted, and the output from the Program is covered only if its contents constitute a work based on the Program (independent of having been made by running the Program). Whether that is true depends on what the Program does.

1. You may copy and distribute verbatim copies of the Program's source code as you receive it, in any medium, provided that you conspicuously and appropriately publish on each copy an appropriate copyright notice and disclaimer of warranty; keep intact all the notices that refer to this License and to the absence of any warranty; and give any other recipients of the Program a copy of this License along with the Program.

You may charge a fee for the physical act of transferring a copy, and you may at your option offer warranty protection in exchange for a fee.

2. You may modify your copy or copies of the Program or any portion of it, thus forming a work based on the Program, and copy and distribute such modifications or work under the terms of Section 1 above, provided that you also meet all of these conditions:

a) You must cause the modified files to carry prominent notices stating that you changed the files and the date of any change.

b) You must cause any work that you distribute or publish, that in whole or in part contains or is derived from the Program or any part thereof, to be licensed as a whole at no charge to all third parties under the terms of this License.

c) If the modified program normally reads commands interactively when run, you must cause it, when started running for such interactive use in the most ordinary way, to print or display an announcement including an appropriate copyright notice and a notice that there is no warranty (or else, saying that you provide a warranty) and that users may redistribute the program under these conditions, and telling the user how to view a copy of this License. (Exception: if the Program itself is interactive but does not normally print such an announcement, your work based on the Program is not required to print an announcement.)

These requirements apply to the modified work as a whole. If identifiable sections of that work are not derived from the Program, and can be reasonably considered independent and separate works in themselves, then this License, and its terms, do not apply to those sections when you distribute them as separate works.

But when you distribute the same sections as part of a whole which is a work based on the Program, the distribution of the whole must be on the terms of this License, whose permissions for other licensees extend to the entire whole, and thus to each and every part regardless of who wrote it.

Thus, it is not the intent of this section to claim rights or contest your rights to work written entirely by you; rather, the intent is to exercise the right to control the distribution of derivative or collective works based on the Program.

In addition, mere aggregation of another work not based on the Program with the Program (or with a work based on the Program) on a volume of a storage or distribution medium does not bring the other work under the scope of this License.

3. You may copy and distribute the Program (or a work based on it, under Section 2) in object code or executable form under the terms of Sections 1 and 2 above provided that you also do one of the following:

a) Accompany it with the complete corresponding machine-readable source code, which must be distributed under the terms of Sections 1 and 2 above on a medium customarily used for software interchange; or,

b) Accompany it with a written offer, valid for at least three years, to give any third party, for a charge no more than your cost of physically performing source distribution, a complete machine-readable copy of the corresponding source code, to be distributed under the terms of Sections 1 and 2 above on a medium customarily used for software interchange; or,

c) Accompany it with the information you received as to the offer to distribute corresponding source code. (This alternative is allowed only for noncommercial distribution and only if you received the program in object code or executable form with such an offer, in accord with Subsection b above.)

The source code for a work means the preferred form of the work for making modifications to it. For an executable work, complete source code means all the source code for all modules it contains, plus any associated interface definition files, plus the scripts used to control compilation and installation of the executable.

However, as a special exception, the source code distributed need not include anything that is normally distributed (in either source or binary form) with the major components (compiler, kernel, and so on) of the operating system on which the executable runs, unless that component itself accompanies the executable.

If distribution of executable or object code is made by offering access to copy from a designated place, then offering equivalent access to copy the source code from the same place counts as distribution of the source code, even though third parties are not compelled to copy the source along with the object code.

4. You may not copy, modify, sublicense, or distribute the Program except as expressly provided under this License. Any attempt otherwise to copy, modify, sublicense or distribute the Program is void, and will automatically terminate your rights under this License. However, parties who have received copies, or rights, from you under this License will not have their licenses terminated so long as such parties remain in full compliance.

5. You are not required to accept this License, since you have not signed it. Nothing else grants you permission to modify or distribute the Program or its derivative works. These actions are prohibited by law if you do not accept this License. Therefore, by modifying or distributing the Program (or any work based on the Program), you indicate your acceptance of this License to do so, and all its terms and conditions for copying, distributing or modifying the Program or works based on it.

6. Each time you redistribute the Program (or any work based on the Program), the recipient automatically receives a license from the original licensor to copy, distribute or modify the Program subject to these terms and conditions. You may not impose any further restrictions on the recipients' exercise of the rights granted herein. You are not responsible for enforcing compliance by third parties to this License.

7. If, as a consequence of a court judgment or allegation of patent infringement or for any other reason (not limited to patent issues), conditions are imposed on you (whether by court order, agreement or otherwise) that contradict the conditions of this License, they do not excuse you from the conditions of this License.

If you cannot distribute so as to satisfy simultaneously your obligations under this License and any other pertinent obligations, then as a consequence you may not distribute the Program at all. For example, if a patent license would not permit royalty-free redistribution of the Program by all those who receive copies directly or indirectly through you, then the only way you could satisfy both it and this License would be to refrain entirely from distribution of the Program.

If any portion of this section is held invalid or unenforceable under any particular circumstance, the balance of the section is intended to apply and the section as a whole is intended to apply in other circumstances.

It is not the purpose of this section to induce you to infringe any patents or other property right claims or to contest validity of any such claims; this section has the sole purpose of protecting the integrity of the free software distribution system, which is implemented by public license practices. Many people have made generous contributions to the wide range of software distributed through that system in reliance on consistent application of that system; it is up to the author/donor to decide if he or she is willing to distribute software through any other system and a licensee cannot impose that choice.

This section is intended to make thoroughly clear what is believed to be a consequence of the rest of this License.

8. If the distribution and/or use of the Program is restricted in certain countries either by patents or by copyrighted interfaces, the original copyright holder who places the Program under this License may add an explicit geographical distribution limitation excluding those countries, so that distribution is permitted only in or among countries not thus excluded. In such case, this License incorporates the limitation as if written in the body of this License.

9. The Free Software Foundation may publish revised and/or new versions of the General Public License from time to time. Such new versions will be similar in spirit to the present version, but may differ in detail to address new problems or concerns.

Each version is given a distinguishing version number. If the Program specifies a version number of this License which applies to it and "any later version", you have the option of following the terms and conditions either of that version or of any later version published by the Free Software Foundation. If the Program does not specify a version number of this License, you may choose any version ever published by the Free Software Foundation.

10. If you wish to incorporate parts of the Program into other free programs whose distribution conditions are different, write to the author to ask for permission. For software which is copyrighted by the Free Software Foundation, write to the Free Software Foundation; we sometimes make exceptions for this. Our decision will be guided by the two goals of preserving the free status of all derivatives of our free software and of promoting the sharing and reuse of software generally.

NO WARRANTY

11. BECAUSE THE PROGRAM IS LICENSED FREE OF CHARGE, THERE IS NO WARRANTY FOR THE PROGRAM, TO THE EXTENT PERMITTED BY APPLICABLE LAW. EXCEPT WHEN OTHERWISE STATED IN WRITING THE COPYRIGHT HOLDERS AND/OR OTHER PARTIES PROVIDE THE PROGRAM "AS IS" WITHOUT WARRANTY OF ANY KIND, EITHER EXPRESSED OR IMPLIED, INCLUDING, BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE. THE ENTIRE RISK AS TO THE QUALITY AND PERFORMANCE OF THE PROGRAM IS WITH YOU. SHOULD THE PROGRAM PROVE DEFECTIVE, YOU ASSUME THE COST OF ALL NECESSARY SERVICING, REPAIR OR CORRECTION.

12. IN NO EVENT UNLESS REQUIRED BY APPLICABLE LAW OR AGREED TO IN WRITING WILL ANY COPYRIGHT HOLDER, OR ANY OTHER PARTY WHO MAY MODIFY AND/OR REDISTRIBUTE THE PROGRAM AS PERMITTED ABOVE, BE LIABLE TO YOU FOR DAMAGES, INCLUDING ANY GENERAL, SPECIAL, INCIDENTAL OR CONSEQUENTIAL DAMAGES ARISING OUT OF THE USE OR INABILITY TO USE THE PROGRAM (INCLUDING BUT NOT LIMITED TO LOSS OF DATA OR DATA BEING RENDERED INACCURATE OR LOSSES SUSTAINED BY YOU OR THIRD PARTIES OR A FAILURE OF THE PROGRAM TO OPERATE WITH ANY OTHER PROGRAMS), EVEN IF SUCH HOLDER OR OTHER PARTY HAS BEEN ADVISED OF THE POSSIBILITY OF SUCH DAMAGES.

### END OF TERMS AND CONDITIONS

How to Apply These Terms to Your New Programs

If you develop a new program, and you want it to be of the greatest possible use to the public, the best way to achieve this is to make it free software which everyone can redistribute and change under these terms.

To do so, attach the following notices to the program. It is safest to attach them to the start of each source file to most effectively convey the exclusion of warranty; and each file should have at least the "copyright" line and a pointer to where the full notice is found.

<one line to give the program's name and an idea of what it does.>

Copyright (C) <yyyy> <name of author>

This program is free software; you can redistribute it and/or modify it under the terms of the GNU General Public License as published by the Free Software Foundation; either version 2 of the License, or (at your option) any later version.

This program is distributed in the hope that it will be useful, but WITHOUT ANY WARRANTY; without even the implied warranty of MERCHANTABILITY or FITNESS FOR A PARTICULAR PURPOSE. See the GNU General Public License for more details.

You should have received a copy of the GNU General Public License along with this program; if not, write to the Free Software Foundation, Inc., 51 Franklin Street, Fifth Floor, Boston, MA  02110-1301, USA.

Also add information on how to contact you by electronic and paper mail.

If the program is interactive, make it output a short notice like this when it starts in an interactive mode:

Gnomovision version 69, Copyright (C) year name of author Gnomovision comes with ABSOLUTELY NO WARRANTY; for details type `show w'.

This is free software, and you are welcome to redistribute it under certain conditions; type `show c' for details.

The hypothetical commands `show w' and `show c' should show the appropriate parts of the General Public License. Of course, the commands you use may be called something other than `show w' and `show c'; they could even be mouse-clicks or menu items--whatever suits your program.

You should also get your employer (if you work as a programmer) or your school, if any, to sign a "copyright disclaimer" for the program, if necessary. Here is a sample; alter the names:

Yoyodyne, Inc., hereby disclaims all copyright interest in the program `Gnomovision' (which makes passes at compilers) written by James Hacker.

<signature of Ty Coon>, 1 April 1989

Ty Coon, President of Vice

This General Public License does not permit incorporating your program into proprietary programs. If your program is a subroutine library, you may consider it more useful to permit linking proprietary applications with the library. If this is what you want to do, use the GNU Lesser General Public License instead of this License.

# Text boxes

1     2         3       4       5

1     2      3        4     6      7

1

2

3

Input the corresponding information here, if you just upload the image FTP.

1             2       3     4

1    2    3    4     5

3D Intelligent Positioning Key

You can click this icon to display or hide the PTZ control platform.

7. Put the cover in accordance with the clip and then place the upper cover back.

8.  Secure the screws in the rear panel and the side panel.

4. Turn the device upside down and then turn the screws in firmly.

in the chassis.

5. Fix the HDD firmly.

6. Connect the HDD cable and power cable.

1. Loosen the screws of the upper cover and side panel.

2. Fix four screws in the HDD (Turn just three rounds).

3. Place the HDD in accordance with the four holes in the bottom.